## Sheet1
Project: Proposed Onco Lift Relocation
IGMH HOSPITAL
2026-08-15

## Summary
Project: Proposed Oncology side Lift Relocation
BILL OF QUANTITIES — SUMMARY
No | Bill | Amount (MVR)
1 | BILL No: 01 — Preliminaries | 0
2 | BILL No: 02 — Ground Works | 0
3 | BILL No: 03 — Concrete Works | 0
4 | BILL No: 04 — Masonry and Plastering | 0
5 | BILL No: 05 — Cladding | 0
6 | BILL No: 06 — Roofing and Steelwork | 0
7 | BILL No: 07 — Raised Floor | 0
8 | BILL No: 08 — Painting | 0
9 | BILL No: 09 — Doors & Windows | 0
10 | BILL No: 10 — Additions and Omissions | 0
SUB TOTAL |  | 0
GST 8% |  | 0
GRAND TOTAL |  | 0

## BOQ
Project: Proposed Oncology side Lift Relocation
Item | Description | Unit | Qty | Material Rate | Labour Rate | Amount (MVR)
BILL No: 01 — Preliminaries
1.1 General Notes — Abbreviations: m metre · lm linear metre · nr number · m³ cubic metre · m² square metre · l litre · kg kilogram · mm millimetre · dia diametre · SS Stainless Steel · GI Galvanised Iron.
1.2 Site Management Costs
1 | Allow for all on- and off-site management costs incl. foreman and assistants, temporary services, telephone and similar items. | item | 1 |  |  | 0
1.3 Safety on Site
1 | Provide and maintain adequate safety measures on site for all workers and authorised visitors, and protect adjoining property and people against falling objects during the works. | item | 1 |  |  | 0
1.4 Temporary Fencing
1 | Supply, erect and maintain a fence and hoarding throughout the construction period along the perimeter of the site. | item | 1 |  |  | 0
1.5 Demolition/ Removal works
1 | removal of existing canvas roof of stair case to 1F and removal of existing canvas roof of stair case to procument | item | 1 |  |  | 0
1.6 Sign Board
1 | Allow for project sign board. | item | 1 |  |  | 0
TOTAL OF BILL No: 01 — Preliminaries — Carried to Summary | [5 empty] | 0
BILL No: 02 — Ground Works
General — Rates shall include for levelling, grading, trimming and compacting faces of excavation, keeping sides plumb, backfilling, consolidating, additional working space and disposing surplus soil. No demolition — lift is located on an empty area.
2.1 Excavation (rate incl. working space, shoring, foundation protection and disposal)
1 | Bulk excavation to form lift pit down to lift foundation level (approx. 1.70m below GFL). | m³ | 29.8 |  |  | 0
2.2 Damp Proof Membrane (500 gauge; rate incl. dressing around and sealing to penetrations)
1 | DPM laid to bottom of 350mm lift pit slab. | m² | 13.84 |  |  | 0
2.3 Back Filling
1 | Backfill to excavated area up to floor finish level, incl. levelling and compaction. | item | 1 |  |  | 0
2.4 Foot Path Making-good (confirm if required)
1 | Allow for reinstating / making good any foot path area disturbed by the works. | item | 1 |  |  | 0
2.5 Clean-up
1 | Allow for clean-up of completed works and site upon completion. | item | 1 |  |  | 0
TOTAL OF BILL No: 02 — Ground Works — Carried to Summary | [5 empty] | 0
BILL No: 03 — Concrete Works
General — Rate shall include batching, mixing, compacting, levelling, placing, curing and removal of formwork, and additional concrete to structural tolerances. Reinforced concrete mix 1:2:3 (20mm crushed aggregate); lean concrete 1:2:6 by volume.
3.1 Lean Concrete (50mm thick to bottom of member)
1 | Lift pit slab. | m³ | 0.69 |  |  | 0
2 | Footing F1 | m³ | 0.03375 |  |  | 0
3.2 Reinforced In-situ Concrete
1 | 350mm thick R.C lift pit slab / foundation (T10 @150 c/c B/W, double layer). | m³ | 4.85 |  |  | 0
2 | Columns, 250 x 250mm, C1 (4 nr, full height of shaft). | m³ | 3.25 |  |  | 0
3 | Ring / floor beams, 200 x 400mm, CB1 & B1 (at each floor level). | m³ | 5.2 |  |  | 0
4 | beams, 200 x 400mm, B2. | m³ | 2.29 |  |  | 0
5 | 150mm thick R.C machine-room slab. | m³ | 2.11 |  |  | 0
6 | 150mm thick R.C machine-room roof slab. | m³ | 2.77 |  |  | 0
7 | 150mm thick R.C wall to lift pit / lower shaft (T10 @150 c/c B/W, double layer). | m³ | 3.31 |  |  | 0
8 | Footing F1 | m³ | 0.3 |  |  | 0
9 | Column C2 | m³ | 0.09 |  |  | 0
3.3 Formwork (fair finish to exposed faces; rate incl. boarding, supports, cambering, cutting and removal)
1 | 350mm thick lift pit slab / foundation (edge formwork). | m² | 5.2 |  |  | 0
2 | Columns, 250 x 250mm, C1. | m² | 65 |  |  | 0
3 | Ring / floor beams, 200 x 400mm, CB1 & B1. | m² | 52 |  |  | 0
4 | Lintel / opening beams, 200 x 400mm, B2. | m² | 18.59 |  |  | 0
5 | 150mm thick R.C machine-room slab. | m² | 13.84 |  |  | 0
6 | 150mm thick R.C machine-room roof slab. | m² | 18.5 |  |  | 0
7 | 150mm thick R.C wall. | m² | 44.2 |  |  | 0
8 | Footing F1 | m² | 1.95 |  |  | 0
9 | Column C2 | m² | 1.5 |  |  | 0
3.4 Reinforcement (high-yield deformed bars except 6mm mild round; rate incl. cutting, bending, fixing, chairs, binding wire, laps and wastage)
1 | 350mm lift pit slab — 10mm dia deformed bars (double layer B/W). | nr | 120 |  |  | 0
2 | Columns C1 — 12mm dia deformed bars (4 nr @ 8T16, full height incl. laps). | nr | 120 |  |  | 0
3 | Columns C1 — 6mm dia bars (links @150 c/c). | nr | 180 |  |  | 0
4 | Ring / floor beams CB1 & B1 — 16mm dia deformed bars. | nr | 60 |  |  | 0
5 | Ring / floor beams CB1 & B1 — 6mm dia bars (links). | nr | 90 |  |  | 0
6 | Beams B2 — 12mm dia deformed bars. | nr | 33 |  |  | 0
7 | Beams B2 — 6mm dia bars (links). | nr | 43 |  |  | 0
8 | 150mm machine room slab — 10mm dia deformed bars (double layer B/W). | nr | 60 |  |  | 0
9 | 150mm roof slab — 10mm dia deformed bars (double layer B/W). | nr | 79 |  |  | 0
10 | 150mm R.C wall — 10mm dia deformed bars (double layer B/W). | nr | 95 |  |  | 0
8 | Footing F1- 10mm dia deformed bars | nr | 6 |  |  | 0
9 | Column C2 - 12mm dia deformed bars (4 nr @ 8T16, full height incl. laps). | nr | 6 |  |  | 0
10 | Columns C2 — 6mm dia bars (links @150 c/c). | nr | 3 |  |  | 0
3.5 Water Proofing
1 | Apply rubberised bitumen waterproofing paint, 2 coats, to all exposed concrete below ground level. | m² | 40 |  |  | 0
2 | Add an approved concrete admixture to all concrete. | l | 30 |  |  | 0
3.6 Other Concrete Works
1 | Wall stiffener members incl. R.C lintel beams, sill beams, stiffener beams and stiffener columns etc. | item | 1 |  |  | 0
3.7 Miscellaneous
1 | 20mm S.S rod hook. | nr | 2 |  |  | 0
TOTAL OF BILL No: 03 — Concrete Works — Carried to Summary | [5 empty] | 0
BILL No: 04 — Masonry and Plastering
General — Rates incl. cleaning cavities, forming reveals, fractional blocks, machine cutting, chases, building-in pipes/sleeves, and raking joints for plaster. Masonry mix 1:4 (cement : river sand). External plaster incl. approved waterproofing compound and fibre mesh.
4.1 Masonry
1 | 150mm thick solid block wall (150 x 150 x 300mm) to lift shaft, laid on 1:5 cement-sand mortar incl. tie rods, compression gap filler and approved plastic mesh. | m² | 205 |  |  | 0
4.2 Plastering (external 2 coats @10mm w/ fibre mesh; internal 1 coat @16mm; 1:4 mix, waterproofed prime plaster)
1 | Lift exterior walls. | m² | 205 |  |  | 0
2 | Lift interior walls. | m² | 205 |  |  | 0
TOTAL OF BILL No: 04 — Masonry and Plastering — Carried to Summary | [5 empty] | 0
BILL No: 05 — Cladding
General — Rates incl. all fabrication, welding, marking, drilling, bolts, nuts, washers, stiffeners, grouting, temporary supports and fixing into position, and application of redoxide / paint to steel members per specification.
5.1 External Cladding
1 | 5mm thick aluminium cladding sheet on 25 x 25mm, 2mm thick GI SHS frame, to lift shaft exterior. | m² | 235 |  |  | 0
TOTAL OF BILL No: 05 — Cladding — Carried to Summary | [5 empty] | 0
BILL No: 06 — Roofing and Steelwork
General — Rates incl. all fabrication, welding, cutting, drilling, bolts and fixings; erection and temporary supports; and application of anti-corrosive / redoxide paint to all GI pipes, trusses, rafters and battens per specification. NEW SCOPE — rates estimated in house format, confirm against supplier quotation.
6.1 Roof Covering
1 | Lysaght standard profiled roofing sheet, incl. flashings, ridge and S.S self-tapping roofing screws with rubber washers, fixed to steel battens. | m² | 91 |  |  | 0
2 | UV-coated clear min 3mm thick polycarbonate roofing sheet to stair / walkway roof, incl. flashings, screws and washers. | m² | 25 |  |  | 0
6.2 Roof Steel Structure
1 | Fabricated steel roof truss (TR1 / TR2) from RHS / CHS sections, incl. base / bearing plates and anti-corrosive paint. | nr | 6 |  |  | 0
2 | 100 x 50mm RHS rafters @ 800mm c/c. | lm | 40 |  |  | 0
3 | 50 x 50mm RHS battens @ 600mm c/c. | lm | 55 |  |  | 0
4 | 50 x 150mm RHS beam (wall plate) for rafters. | lm | 15 |  |  | 0
5 | 100 x 50mm RHS rafters welded to walkway rafter / rafter supports. | lm | 12 |  |  | 0
6.2 Stair Roof Structure
1 | 50 x 100mm RHS beam as slope (per stair waist) & wall-plate beam. | lm | 20 |  |  | 0
2 | 50 x 100mm RHS post to support stair roof. | lm | 12 |  |  | 0
3 | 50 x 50mm CHS battens @ 600mm c/c to polycarbonate roof. | lm | 34 |  |  | 0
6.3 Roof Support Posts
1 | GI pipe support posts to walkway roof, down to terrace floor, incl. fender plate, base plate and anti-corrosive paint. | lm | 25 |  |  | 0
2 | Column C2 to 50x100X2MM RHS GI PIPE connection with base plate, 12mm bolts, 10mm stiffener | nr | 3 |  |  | 0
6.5 Gutter for existing roof
1 | Proposed gutter to existing roof, incl. brackets, outlets and fixings. | lm | 26 |  |  | 0
6.6 Access / Platform
(1) | S.S cat ladder (design to be approved) and hot-dip steel landing platform with S.S floor plate. | item | 1 |  |  | 0
TOTAL OF BILL No: 06 — Roofing and Steelwork — Carried to Summary | [5 empty] | 0
BILL No: 07 — Raised Floor
General — Supply and install aluminium perforated raised floor system incl. pedestals, framing, edge trims and all fixings; level and set out to falls as required.
7.1 Raised Flooring
1 | Aluminium perforated raised floor system to terrace / lift landing area. | m² | 40 |  |  | 0
TOTAL OF BILL No: 07 — Raised Floor — Carried to Summary | [5 empty] | 0
BILL No: 08 — Painting
General — Rates incl. provision, erection and removal of scaffolding, surface preparation, rubbing down between coats, masking and protection. Paint brand Nippon or equivalent; colour by architect / consultant. Interior: putty + 1 coat wall sealer + 2 coats emulsion.
8.1 Apply putty, wall sealer and emulsion paint to:
1 | Interior lift wall (only wall sealer) | m² | 135.84 |  |  | 0
2 | Interior Machine room walls. | m² | 38.34 |  |  | 0
3 | Exterior lift wall (only wall sealer) | m² | 8.96 |  |  | 0
TOTAL OF BILL No: 09 — Painting — Carried to Summary | [5 empty] | 0
BILL No: 09 — Doors & Windows
General — Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
Rates shall include for door frames and window frames, mullions, transoms, trims, glazing, tinting, timber panels, boardings, framing, lining, fastenings and all fixings and installation
9.1 Alumium Door and Fixed partition
1 | Aluminium Door (D1) | nr | 1 |  |  | 0
2 | Fixed Panel (FP) | nr | 1 |  |  | 0
TOTAL OF BILL No: 09 — Doors & Windows — Carried to Summary | [5 empty] | 0
BILL No: 10 — Electrical & Mechanical Works
General - | General
Contractor shall get approval from the Engineer for electrical fittings before installation.
All lighting and power circuits shall include 2 x 1.5mm² PVC/ PVC/ CU + 2.5mm² PVC/ CU (E) in conduits.
All 13A/ 15A circuit/ Socket outlet shall be wired in 2 x 7/ 0.67mm² PVC insulated sheathed Copper cables and earth cable taken through minimum size of 25mm PVC conduit.
All A/C power circuits shall include 2 x 4mm² PVC/ PVC /CU + 4mm² PVC/ CU (E) in conduits.
Contractor shall get the approval for position of fittings indicated in drawings from Engineer before commencing the work.
Rates shall include for;
(i) Screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
(ii) Rates for electrical isolators, conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces.
(iii) Electrical isolators, conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces.
A light point is measured including conduit, wiring, earthing, switches etc. all as required and as specified.
The Contractor shall provide detailed and complete set of shop drawings for all the works in this section.
Each fitting shall include bulbs, internal wiring, hanging and fixing material and be complete without any additional item/material being required to make it so.
Each Light/ light fixture and its switch is measured as one point; similarly each fan or each socket outlet is measured as one point
The panel boards supplied and installed under this contract shall be complete with all the requires accessories such as neutral bars, earth bars, fixing material……etc.
10.1 ELECTRICAL BOARDS
Complete installation, including for all connections, earthing, painting, testing and similar of:
1 | Main cable, cut-off fuse and other accessories to the ground floor to electrical engineers specification | item | 1 |  |  | 0
2 | Supply and installation of Main Cable (Estimated 40M) | M | 40 |  |  | 0
10.1 ELECTRICAL WIRING
Electrical wiring with copper conductor cable in conduits in walls and concrete as per government regulations.
1 | Wiring to Lights and Fans with 1.5mm² cables. | nr | 7 |  |  | 0
2 | Wiring to Power Outlets with 2.5mm² cables. | nr | 5 |  |  | 0
10.2 LIGHTING & FANS
1 | 20W - 220x220(220∅) LED PANEL | nr | 4 |  |  | 0
2 | 26W COMPACT FLUORESCENT LAMPS IN WALL MOUNT WEATHER PROOF LUMINAIRE DECORATIVE LUMINAIRE | nr | 3 |  |  | 0
10.3 SWITCHES | [5 empty] | 0
1 | 1 GANG SWITCH | nr | 1 |  |  | 0
2 | 2 GANG SWITCH | nr | 1 |  |  | 0
10.3 POWER POINTS | POWER POINTS |  |  |  |  | 0
1 | 1 GANG 15A SOCKET OUTLET Ceiling Level | nr | 5 |  |  | 0
10.4 Distribution Board
Electrical boards complete including wiring, enclosures, conduits, ducts, contactors,RCCB breakers, earthing etc. to Engineer's approval
1 | Distribution Board (Light DB,Power DB,UPS DB & AC Power DB) | nr | 1 |  |  | 0
10.5 Air Conditioning
(a) Rates shall include for complete supply, installation, ducting, wiring, pipe work (insulated liquid, gas and drain), electrical and fixings as per the drawings.
1 | Ceiling casset 18,000 btu | nr | 1 |  |  | 0
10.6 Networking / CCTV SECURITY SYSTEMS
Provide & install Network and Telephone fittings, wiring equipment inclusive of all necessary connection as per local regulations as described
All network ,TV and Telephone socket outlets shall be 'Legrand' brand or equivalent, and PABX Gigabit switch shall be Cisco or equivalent | Provide & install Network and Telephone fittings, wiring equipment inclusive of all necessary connection as per local regulations as described
Supply and installation of access control and CCTV security system as per specifications | All network ,TV and Telephone socket outlets shall be 'Legrand' brand or equivalent, and PABX Gigabit switch shall be Cisco or equivalent
1 | Network Switch | nr | 1 |  |  | 0
2 | Data socket Point @ 300mm from FFL including cable | nr | 1 |  |  | 0
3 | Security camara-180 degree (INSIDE THE LIFT AND IN WALKWAY) | nr | 2 |  |  | 0
4 | Network for lift floor Control | nr | 1 |  |  | 0
TOTAL OF BILL No: 10 — Electrical & Mechanical Works — Carried to Summary | BILL N0: 06 - Electrical & Mechanical Works |  |  |  |  | 0
BILL No: 10 — Additions and Omissions
10.1 Additions
10.2 Omissions
TOTAL OF BILL No: 10 — Additions and Omissions — Carried to Summary | [5 empty] | 0