## Cover
BILL OF QUANTITIES
IGMH CATH LAB INTERIOR WORK
CLIENT :

## BOQ Summary
SUMMARY OF BILLS OF QUANTITIES
IGMH CATH LAB INTERIOR WORK
| DESCRIPTION | MATERIAL COST | LABOUR COST | AMOUNT
| Bill №: 01 - PRELIMINARIES | 0 | 0 | 0
| Bill №: 02 - DEMOLITION | 0 | 0 | 0
| Bill №: 03 - MASONRY | 0 | 0 | 0
| Bill №: 04 - PLASTERING & DOOR FIXING | 0 | 0 | 0
| Bill №: 05 - FURNITURES | 0 | 0 | 0
| Bill №: 06 - WALL PANEL WORKS | 0 | 0 | 0
| Bill №: 07 - FLOOR FINISHING | 0 | 0 | 0
| Bill №: 08 - TILING WORKS | 0 | 0 | 0
| Bill №: 09 - CEILING WORKS | 0 | 0 | 0
| Bill №: 10 - PAINTING WORKS | 0 | 0 | 0
| Bill №: 11 - ELECTRICAL WORKS | 0 | 0 | 0
| Bill №: 12 - PLUMBING | 0 | 0 | 0
| TOTAL AMOUNT | 0 | 0 | 0
| GST 8% |  |  | 0
| TOTAL AMOUNT including GST |  |  | 0

## BOQ
0
IGMH CATH LAB INTERIOR WORK
Republic of Maldives
BILL OF QUANTITIES
ITEM |  |  |  | DESCRIPTION | UNIT | QTY | MATERIAL RATE | LABOUR RATE | MATERIAL AMOUNT | LABOUR AMOUNT | AMOUNT
1.0.00 |  |  |  | Bill №: 01 - PRELIMINARIES
1.1.00 | GENERAL NOTES
Abbreviations
|  |  | m | - metre
|  |  | nr | - numbers
|  |  | m3 | - cubic metres
|  |  | m2 | - square metres
|  |  | m | - linear metre
|  |  | t | - tons
|  |  | inc. | - including
|  |  | mm | - millimetre
|  |  | SS | - stainless steel
|  |  | GI | - galvanized iron
1.2.00 | SITE MANAGEMENT COSTS
|  |  |  | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone, fax, hoardings & similar. | item | 1 |  |  | 0 | 0 | 0
1.3.00 | SIGN BOARD
|  |  |  | Allow for sign board. | Nos | 1 |  |  | 0 | 0 | 0
1.4.00 | CLEAN-UP
|  |  |  | Allow for clean-up upon completion of works. | item | 1 |  |  | 0 | 0 | 0
| TOTAL OF BILL №: 01 - Carried Over To Summary | [7 empty] | 0 | 0 | 0
Bill №: 02 - DEMOLITION
GENERAL
|  |  | (a) | Careful demolition and dismantling of existing masonry walls, partitions (block/gypsum/wooden), RCC staircase, and bench structures, including cutting, breaking, and removal of concrete and reinforcement wherever required. The work also includes removal of existing toilet fixtures, fittings, and wall/floor tiles with necessary plumbing disconnections. All debris shall be collected, removed, and disposed of outside the site as per instructions, complete in all respects.
DEMOLITION WORK
2.1.00 |  |  |  | Wall Demolition | m2 | 156 |  |  | 0 | 0 | 0
2.1.01 |  |  |  | Doors Removal | Nos | 11 |  |  | 0 | 0 | 0
2.1.02 |  |  |  | tiles removal | m2 | 566 |  |  | 0 | 0 | 0
|  |  |  | TOTAL OF BILL №: 02 - Carried Over To Summary |  |  |  |  | 0 | 0 | 0
3.0.00 |  |  |  | Bill №: 03 - MASONRY
GENERAL
|  |  | (a) | Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs, cutting or leavingholes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashing, bedding frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good.
3.1.00 | BLOCK WORK
Cement block wall, bricks laid to form alternate courses of headers and stretchers, laid on and inc. mortar (INTERNAL WALLS).
|  |  | 100 | mm thk full height (Full block)
3.1.08 |  |  |  | CATH LAB | m2 | 50 |  |  | 0 | 0 | 0
|  |  |  | TOTAL OF BILL №: 03 - Carried Over To Summary |  |  |  |  | 0 | 0 | 0
Bill №: 04 - PLASTERING & DOOR FIXING
GENERAL
|  |  | (a) | Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs, cutting or leavingholes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashing, bedding frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good.
4.1.00 | PLASTERING WORK
|  |  | 16 | mm thk cement plaster on internal surface as specified on the drawing
4.1.04 |  |  |  | CATH LAB | m2 | 100 |  |  | 0 | 0 | 0
4.1.00 | DOOR FIXING
4.1.04 |  |  |  | CATH LAB | Nos | 8 |  |  | 0 | 0 | 0
|  |  |  | TOTAL OF BILL №: 04 - Carried Over To Summary |  |  |  |  | 0 | 0 | 0
Bill №: 05 - FURNITURES
1 | RECEPTION BACK WALL CARDIOLOGY WARD
|  |  |  | Supply and install feature reception back wall for the Cardiology Ward, comprising moisture-resistant backing, decorative wall finish (laminate/HPL, fluted panel, WPC panel, or approved equivalent), hospital-grade finish, provision for illuminated "CARDIOLOGY WARD" signage, concealed cable routing for lighting, complete with trims, fixing accessories, and all necessary labour for a complete installation in accordance with approved drawings and specifications. Finish shall be durable, easy to clean, and suitable for healthcare environments | Nos | 1 |  |  | 0 | 0 | 0
|  |  |  | Granite Sheet M3 | m² | 3 |  |  | 0 | 0 | 0
|  |  |  | Wall Tiling | m² | 2.925 |  |  | 0 | 0 | 0
|  |  |  | Ceramic Sink with Tap | Nos | 1 |  |  | 0 | 0 | 0
|  |  |  | 36mm Block board selves | Nos | 2 |  |  | 0 | 0 | 0
5.01 | NURSE COUNTER CARDIOLOGY WARD
|  |  |  | Supply, fabricate, and install nurse counter including solid surface/laminated countertop, moisture-resistant plywood or MDF carcass, front and side decorative cladding, storage cabinets, drawers, open shelves, cable management provisions, skirting, edge trims, hardware, and all necessary accessories. Complete with all labour, materials, fittings, and fixing as per approved drawings and specifications. Finish shall be durable, easy to clean, and suitable for healthcare environments. | Nos | 1 |  |  | 0 | 0 | 0
|  |  |  | Logo | Nos | 1 |  |  | 0 | 0 | 0
5.02 | DIRTY UTILITY COUNTER CARDIOLOGY WARD
|  |  |  | Supply, fabricate, and install dirty utility counter including moisture-resistant cabinet carcass, chemical-resistant solid surface or compact laminate countertop, stainless steel sink (where indicated), storage cabinets, drawers, shelves, plumbing and service cut-outs, edge trims, hardware, skirting, and all necessary fittings and accessories. Complete with labour, materials, fixing, and installation in accordance with the approved drawings and specifications. Finish shall be durable, moisture-resistant, easy to clean, and suitable for healthcare environments. | Nos | 1 |  |  | 0 | 0 | 0
|  |  |  | Granite Sheet M3 | m² | 2 |  |  | 0 | 0 | 0
|  |  |  | Wall Tiling | m² | 1.625 |  |  | 0 | 0 | 0
|  |  |  | Ceramic Sink with Tap | Nos | 1 |  |  | 0 | 0 | 0
5.03 | PATIENT BED HEAD BOARD & BED-SIDE PRIVACY CURTAINS
Supply, fabricate, and install patient bed head board using 18 mm moisture-resistant block board with teak veneer/HPL finish, including provisions and cut-outs for electrical sockets, switches, and other service outlets, complete with all necessary fittings, fixings, and installation as per approved drawings.
|  |  |  | PATIENT BED HEAD BOARD | Nos | 18 |  |  | 0 | 0 | 0
Supply and install 8 ft high hospital-grade bed-side privacy curtain complete with ceiling-mounted aluminium curtain track, bends, runners/carriers, end stops, suspension brackets, fixing accessories and washable fire-retardant curtain fabric, including all materials, labour, transportation, wastage, installation, overheads and contractor's profit, complete as shown on drawings.
|  |  |  | BED-SIDE PRIVACY CURTAINS | Set | 18 |  |  | 0 | 0 | 0
5.04 | RECEPTION BCK WALL C.C.U
|  |  |  | Supply, fabricate, and install decorative reception back wall for the C.C.U. using 18 mm moisture-resistant block board with laminate/HPL finish, including framing, edge trims, provision for signage, concealed fixings, and all necessary accessories, complete as per approved drawings and specifications. | Nos | 1 |  |  | 0 | 0 | 0
5.05 | WALL MOUNTED CABINET C.C.U
|  |  |  | Supply, fabricate, and install wall-mounted cabinet using 18 mm moisture-resistant block board with laminate/HPL finish, including shelves, shutters, edge banding, hardware, concealed fixings, and all necessary accessories, complete as per approved drawings and specifications. | Nos | 1 |  |  | 0 | 0 | 0
5.06 | STORAGE CABINET C.C.U
|  |  |  | Supply, fabricate, and install storage cabinet using 18 mm moisture-resistant block board with laminate/HPL finish, including shelves, doors, drawers (where required), edge banding, hardware, concealed fixings, and all necessary accessories, complete as per approved drawings and specifications. | Nos | 1 |  |  | 0 | 0 | 0
5.07 | HAND WASH AREA PROCEDURE ROOM
|  |  |  | Supply, fabricate, and install hand wash counter using 18 mm moisture-resistant block board with laminate/HPL finish, complete with solid surface countertop, wash basin cut-out, storage cabinet, edge banding, hardware, concealed fixings, and all necessary accessories, complete as per approved drawings and specifications. | Nos | 1 |  |  | 0 | 0 | 0
|  |  |  | Granite Sheet M3 | m² | 0.75 |  |  | 0 | 0 | 0
|  |  |  | Wall Tiling | m² | 1.0725 |  |  | 0 | 0 | 0
|  |  |  | Ceramic Sink with Tap | Nos | 1 |  |  | 0 | 0 | 0
5.08 | WORK STATION PROCEDURE ROOM
|  |  |  | Supply, fabricate, and install work station using 18 mm moisture-resistant block board with laminate/HPL finish, complete with countertop, storage cabinets, drawers, shelves, cable management, edge banding, hardware, concealed fixings, and all necessary accessories, complete as per approved drawings and specifications. | Nos | 1 |  |  | 0 | 0 | 0
|  |  |  | Granite Sheet M3 | m² | 2 |  |  | 0 | 0 | 0
|  |  |  | Wall Tiling | m² | 1.95 |  |  | 0 | 0 | 0
|  |  |  | 36mm Block board selves | Nos | 2 |  |  | 0 | 0 | 0
5.09 | CLEAN UTILITY COUNTER IN CLEAN UTILITY
|  |  |  | Supply, fabricate, and install clean utility counter using 18 mm moisture-resistant block board with laminate/HPL finish, complete with countertop, storage cabinets, drawers, shelves, edge banding, hardware, concealed fixings, and all necessary accessories, complete as per approved drawings and specifications. | Nos | 1 |  |  | 0 | 0 | 0
|  |  |  | Granite Sheet M3 | m² | 2.75 |  |  | 0 | 0 | 0
|  |  |  | Wall Tiling | m² | 3.25 |  |  | 0 | 0 | 0
|  |  |  | Ceramic Sink with Tap | Nos | 1 |  |  | 0 | 0 | 0
5.1 | STORAGE COUNTER TEA ROOM
|  |  |  | Supply, fabricate, and install storage counter using 18 mm moisture-resistant block board with laminate/HPL finish, complete with countertop, storage cabinets, shelves, edge banding, hardware, concealed fixings, and all necessary accessories, complete as per approved drawings and specifications. | Nos | 1 |  |  | 0 | 0 | 0
|  |  |  | Granite Sheet M3 | m² | 2 |  |  | 0 | 0 | 0
|  |  |  | Wall Tiling | m² | 2.6 |  |  | 0 | 0 | 0
|  |  |  | Ceramic Sink with Tap | Nos | 1 |  |  | 0 | 0 | 0
5.11 | WALL MOUNTED TABLE IN TEA ROOM
|  |  |  | Supply, fabricate, and install wall-mounted table using 18 mm moisture-resistant block board with laminate/HPL finish, complete with edge banding, concealed brackets, fixings, and all necessary accessories, complete as per approved drawings and specifications. | Nos | 1 |  |  | 0 | 0 | 0
5.12 | STORAGE CABINET CATH LAB AREA
|  |  |  | Supply, fabricate, and install storage cabinet using 18 mm moisture-resistant block board with laminate/HPL finish, complete with shelves, doors, drawers (where required), edge banding, hardware, concealed fixings, and all necessary accessories, complete as per approved drawings and specifications. | Nos | 1 |  |  | 0 | 0 | 0
|  |  |  | Granite Sheet M3 | m² | 2 |  |  | 0 | 0 | 0
|  |  |  | Wall Tiling | m² | 2.275 |  |  | 0 | 0 | 0
|  |  |  | Ceramic Sink with Tap | Nos | 1 |  |  | 0 | 0 | 0
5.13 | WALL MOUNTED CABINET CATH LAB AREA
|  |  |  | Supply, fabricate, and install wall-mounted cabinet using 18 mm moisture-resistant block board with laminate/HPL finish, complete with shelves, doors, edge banding, hardware, concealed fixings, and all necessary accessories, complete as per approved drawings and specifications | Nos | 1 |  |  | 0 | 0 | 0
5.14 | DIRTY UTILITY COUNTER IN CATH LAB AREA
|  |  |  | Supply, fabricate, and install dirty utility counter using 18 mm moisture-resistant block board with laminate/HPL finish, complete with countertop, storage cabinets, drawers, shelves, sink cut-out (where required), edge banding, hardware, concealed fixings, and all necessary accessories, complete as per approved drawings and specifications. | Nos | 1 |  |  | 0 | 0 | 0
|  |  |  | Granite Sheet M3 | m² | 2 |  |  | 0 | 0 | 0
|  |  |  | Wall Tiling | m² | 2.3725 |  |  | 0 | 0 | 0
|  |  |  | Ceramic Sink with Tap | Nos | 1 |  |  | 0 | 0 | 0
5.15 | CLEAN UTILITY COUNTER IN CATH LAB AREA
|  |  |  | Supply, fabricate, and install clean utility counter using 18 mm moisture-resistant block board with laminate/HPL finish, complete with countertop, storage cabinets, drawers, shelves, edge banding, hardware, concealed fixings, and all necessary accessories, complete as per approved drawings and specifications. | Nos | 1 |  |  | 0 | 0 | 0
|  |  |  | Granite Sheet M3 | m² | 3.25 |  |  | 0 | 0 | 0
|  |  |  | Wall Tiling | m² | 3.835 |  |  | 0 | 0 | 0
5.16 | FULL HEIGHT STORAGE IN CATH LAB AREA
|  |  |  | Supply, fabricate, and install full-height storage cabinet using 18 mm moisture-resistant block board with laminate/HPL finish, complete with adjustable shelves, full-height doors, edge banding, hardware, concealed fixings, and all necessary accessories, complete as per approved drawings and specifications. | Nos | 1 |  |  | 0 | 0 | 0
5.17 | WORK STATION IN DOCTORS LOUNGE
|  |  |  | Supply, fabricate, and install workstation using 18 mm moisture-resistant block board with laminate/HPL finish, complete with worktop, storage cabinets, drawers, shelves, cable management, edge banding, hardware, concealed fixings, and all necessary accessories, complete as per approved drawings and specifications. | Nos | 1 |  |  | 0 | 0 | 0
|  |  |  | 36mm Block board selves | Nos | 2 |  |  | 0 | 0 | 0
5.18 | WARDROBE TYPE STORAGE FEMALE CHANGING ROOM
|  |  |  | Supply, fabricate, and install wardrobe-type storage using 18 mm moisture-resistant block board with laminate/HPL finish, complete with full-height doors, shelves, hanging rail, edge banding, hardware, concealed fixings, locks, and all necessary accessories, complete as per approved drawings and specifications. | Nos | 1 |  |  | 0 | 0 | 0
5.19 | FULL HEIGHT STORAGE FEMALE CHANGING ROOM
|  |  |  | Supply, fabricate, and install full-height storage cabinet using 18 mm moisture-resistant block board with laminate/HPL finish, complete with adjustable shelves, full-height doors, edge banding, hardware, concealed fixings, locks, and all necessary accessories, complete as per approved drawings and specifications. | Nos | 1 |  |  | 0 | 0 | 0
5.20 | WORK DESK + STORAGE CONSULTANT ROOM
|  |  |  | Supply, fabricate, and install work desk with integrated storage using 18 mm moisture-resistant block board with laminate/HPL finish, complete with worktop, drawers, storage cabinets, shelves, cable management, edge banding, hardware, concealed fixings, and all necessary accessories, complete as per approved drawings and specifications. | Nos | 1 |  |  | 0 | 0 | 0
|  |  |  | Granite Sheet M3 | m² | 2 |  |  | 0 | 0 | 0
|  |  |  | Wall Tiling | m² | 1.7875 |  |  | 0 | 0 | 0
|  |  |  | 36mm Block board selves | Nos | 2 |  |  | 0 | 0 | 0
5.21 | STORAGE CABINET CATHETER WASH
|  |  |  | Supply, fabricate, and install storage cabinet using 18 mm moisture-resistant block board with laminate/HPL finish, complete with shelves, doors, edge banding, hardware, concealed fixings, and all necessary accessories, complete as per approved drawings and specifications. | Nos | 1 |  |  | 0 | 0 | 0
|  |  |  | Granite Sheet M3 | m² | 1.5 |  |  | 0 | 0 | 0
|  |  |  | Wall Tiling | m² | 1.365 |  |  | 0 | 0 | 0
5.22 | WALL MOUNTED SHELVES CATHETER WASH
Supply, fabricate, and install wall-mounted shelves using 18 mm moisture-resistant block board with laminate/HPL finish, complete with edge banding, concealed brackets, fixings, and all necessary accessories, complete as per approved drawings and specifications.
|  |  |  | 36mm Block board selves | Nos | 2 |  |  | 0 | 0 | 0
5.23 | WALL MOUNTED SHELVES CATH LAB STORE
Supply, fabricate, and install wall-mounted shelves using 18 mm moisture-resistant block board with laminate/HPL finish, complete with edge banding, concealed brackets, fixings, and all necessary accessories, complete as per approved drawings and specifications.
|  |  |  | 36mm Block board selves | Nos | 2 |  |  | 0 | 0 | 0
|  |  |  | TOTAL OF BILL №: 05 - Carried Over To Summary |  |  |  |  | 0 | 0 | 0
Bill №: 06 - WALL PANEL WORKS
Providing and fixing solid wall panels of approved make and quality, factory manufactured, with tongue and groove joints, erected in position as per approved drawings, including necessary cutting, trimming, alignment, fixing with suitable adhesive/mortar, mechanical fasteners, complete in all respects including finishing of joints, curing (if required), scaffolding, and cleaning. Rate shall be inclusive of all materials, labour, tools, and consumables required for proper completion of work
6.1.1 |  |  |  | White Plain Wall semi gloss finish | m2 | 728 |  |  | 0 | 0 | 0
6.1.2 |  |  |  | Sage Green Wall semi gloss finish | m2 | 10.01 |  |  | 0 | 0 | 0
6.1.3 |  |  |  | Medium wood tone Plain Wall matt finish | m2 | 30.16 |  |  | 0 | 0 | 0
6.1.4 |  |  |  | Thin White acrylic sheet glossy finish | m2 | 7.6726 |  |  | 0 | 0 | 0
|  |  |  | TOTAL OF BILL №: 06 - Carried Over To Summary |  |  |  |  | 0 | 0 | 0
6.0.00 |  |  |  | Bill №: 07 - FLOOR FINISHING
GENERAL
|  |  | (a) | Rates shall include for: fixing, bedding, grouting, and pointing materials; making good around pipes, sanitary fixtures, and similar; cleaning down and polishing.
|  |  | (b) | "Masterseal 550" or equivalent should be applied on top of screeds and walls upto 600mm in all toilets.
WATER PROOFING
TOILETS,BALCONY,TERRACE
7.1.01 |  |  |  | CATH LAB TOILETS | m2 | 24.5 |  |  | 0 | 0 | 0
CEMENT SCREED
|  |  | 50 | mm thk cement screed
7.2.01 |  |  |  | GROUND FLOOR | m2 | 566.53 |  |  | 0 | 0 | 0
6.3.00 | POLYVINYL FLOORING
7.3.01 |  |  |  | PVC VINYL FLOORING WHITE | m2 | 472.084 |  |  | 0 | 0 | 0
7.3.02 |  |  |  | PVC VINYL FLOORING GREEN | m2 | 68.937 |  |  | 0 | 0 | 0
|  |  |  | TOTAL OF BILL №: 07 - Carried Over To Summary |  |  |  |  | 0 | 0 | 0
Bill №: 08 - TILING WORKS
TILING WORKS
TOILET FLOOR TILING
8.1.01 |  |  |  | Supply and installation of tiles, including surface preparation, adhesive, grout, and finishing, complete as per specification. | m2 | 24.15 |  |  | 0 | 0 | 0
TOILET WALL TILING
8.2.01 |  |  |  | Supply and lay approved wall tiles with tile adhesive, complete with cutting, grouting, jointing, and all necessary materials, labour, and accessories as per the approved drawings and specifications. | m2 | 167.4764 |  |  | 0 | 0 | 0
|  |  |  | TOTAL OF BILL №: 08 - Carried Over To Summary |  |  |  |  | 0 | 0 | 0
Bill №: 09 - CEILING WORKS
CEILING WORKS
Supply and installation of suspended exposed T-grid ceiling system comprising galvanized steel main runners, cross tees, perimeter angles, suspension rods, hangers, clips and all necessary accessories and fixings, complete with 600 x 600 mm mineral fibre/acoustic ceiling tiles as specified. Rate includes setting out, levelling, cutting, trimming, openings for MEP services, coordination with services and all labour, materials, tools, access equipment and installation, complete in all respects.
9.1.01 |  |  |  | GRID CEILING | m2 | 329 |  |  | 0 | 0 | 0
Supply and installation of fixed ceiling system comprising aluminium framing system including perimeter channels, main and secondary aluminium sections, suspension/hanger system, brackets, clips, screws and all necessary accessories and fixings, complete with ceiling boards/panels as specified. Rate includes setting out, levelling, cutting, forming openings for MEP services, access panels, joint treatment, trims, finishing and all materials, labour, tools, equipment and installation, complete in all respects.
9.1.01 |  |  |  | FIXED CEILING | m2 | 286 |  |  | 0 | 0 | 0
|  |  |  | TOTAL OF BILL №: 09 - Carried Over To Summary |  |  |  |  | 0 | 0 | 0
Bill №: 10 - PAINTING WORKS
PAINTING WORKS
GENERAL
|  |  | (a) | Rates shall include for: the provision, erection and removal of scaffolding, preparation, wall putty application, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door & window furniture.
|  |  | (b) | All painting work shall be carried in accordance with the Specifications.
WALL PAINTING
Emulsion paint finish including putty application on brick walls as specified (INTERNAL SURFACES)
10.1.01 |  |  |  | GROUND FLOOR | m2 | 477.8 |  |  | 0 | 0 | 0
CEILING PAINTING
Selected paint finish including putty application on ceiling as specified (CEILING)
10.1.02 |  |  |  | GROUND FLOOR | m2 | 566.53 |  |  | 0 | 0 | 0
|  |  |  | TOTAL OF BILL №: 10 - Carried Over To Summary |  |  |  |  | 0 | 0 | 0
Bill №: 11 - ELECTRICAL WORKS
1.15 | ELECTRICAL WORKS
10.1.00 | MAIN DISTRIBUTION, SUB DISTRIBUTION AND DISTRIBUTION SYSTEM
Distribution Boards ( DB )
Distribution Panel for each floor as shown on the drawing, complete with all incoming and outgoing MCBs, RCCBs, etc any other item required to working order, wall mounted wall mount steel powder coated, IP44 enclouser with neutral link, earth bar and required accessories, all complete as per the specifications & drawings.
10.1.01 |  |  |  | Distribution Boards Light 3 Phase - Each Phase 1 RCCB 40A / 30ma | Nos | 1 |  |  | 0 |  | 0
10.1.02 |  |  |  | Distribution Boards Power 3 Phase 2x2 Socket 13A 1 RCCBO 20A | Nos | 1 |  |  | 0 |  | 0
10.1.03 |  |  |  | Distribution Boards UPS 3 Phase 2x2 Socket 13A 1 RCCBO 20A | Nos | 1 |  |  | 0 |  | 0
10.1.04 |  |  |  | Cable 4Cx10mm2 | Nos | 3 |  |  | 0 |  | 0
0
MAIN / SUB CABLING
All under ground cables directly buried in ground/ in the trenches as appilcable, to be laid properly and covered with cable tiles, protection tapes, etc for mechanical protection, PVC sleeves may use if required. Rate shall include for all necessary works/accessories such as excavation, sand layers, cable tiles, warning strips and back filling with approved quality earth,properly compacted, to the satisfication of the Engineer.
All above ground cables shall be laid on cable tray/ trucnking /conduits as appilcable and covered by tray covers, etc. for mechanical protection. PVC sleeves may use if required. Rate shall include for all necessary works/ accessories such as galvernized brackets, supporting materials, fittings, nails, cable ties, earthing, etc, trays shall be of required sizes, GI powder coated, and shotted, to the satisfication of Engineer
GENERAL EARTHING
11.1.06 |  |  |  | Allow for the total earthing system inclusive of the necessary cables from all the DBs | item | 1 |  |  | 0 | 0 | 0
POINT WIRING AND FITTINGS
Rate shall include for supply & installation of cable, conduits for point wiring in concealed installations including lights,switches, power outlet,data points,isolators, etc, all as specified in the drawing
11.1.07 |  |  |  | Supply and Installation of 2 x 1C 1.5mm2 PVC/PVC/Cu + 2.5mm2 PVC/Cu earth cable c/w uPVC conduit, junction boxes etc. for lights and switches point wiring | Nos | 190 |  |  | 0 | 0 | 0
11.1.08 |  |  |  | Supply and Installation of 2 x 1C 2.5mm2 PVC/PVC/Cu + 2.5mm2 PVC/Cu earth cable c/w uPVC conduit, junction boxes,ethernet cables, RJ45 Connectors, VGA cables etc. for the Socket outlets point wiring | Nos | 236 |  |  | 0 | 0 | 0
FIXTURES
Rate shall include supply and installation of following lighting fixtures, socket outlets as specified and detailed, fixed in position including all fixing accessories, supports and connect to power, under following conditions
1. All bathrooms, out door light fixtures shall be IP65
2. All switches & sockets shall be ABB or equivalent brand.
LIGHTS AND SWITCHES
11.1.09 |  |  |  | 600mm x 600mm Ceiling Resist LED Light | Nos | 78 |  |  | 0 | 0 | 0
11.1.10 |  |  |  | 150mm Ceiling light 18W LED | Nos | 26 |  |  | 0 | 0 | 0
11.1.11 |  |  |  | Exhaust Fan | Nos | 38 |  |  | 0 | 0 | 0
11.1.12 |  |  |  | Light switch (1 G) | Nos | 15 |  |  | 0 | 0 | 0
11.1.13 |  |  |  | Light switch (2 G) | Nos | 3 |  |  | 0 | 0 | 0
11.1.14 |  |  |  | Light switch (3 G) | Nos | 8 |  |  | 0 | 0 | 0
11.1.15 |  |  |  | Light switch (4 G) | Nos | 13 |  |  | 0 | 0 | 0
11.1.16 |  |  |  | Heater switch | Nos | 3 |  |  | 0 | 0 | 0
11.1.17 |  |  |  | Fan Switch | Nos | 6 |  |  | 0 | 0 | 0
SOCKETS
11.1.18 |  |  | 13 | A twin sockets | Nos | 165 |  |  | 0 | 0 | 0
11.1.19 |  |  |  | 1x2 Data Outlet | Nos | 18 |  |  | 0 | 0 | 0
11.1.20 |  |  |  | 1x3 Data Outlet | Nos | 18 |  |  | 0 | 0 | 0
11.1.21 |  |  |  | Wifi Point | Nos | 10 |  |  | 0 | 0 | 0
11.1.22 |  |  | 13 | A sockets | Nos | 4 |  |  | 0 | 0 | 0
11.1.23 |  |  | 15 | A Sockets | Nos | 20 |  |  | 0 | 0 | 0
11.1.24 |  |  |  | Fiber Socket | Nos | 1 |  |  | 0 | 0 | 0
11.1.25 |  |  |  | Nurse Call point | Nos | 18 |  |  | 0 | 0 | 0
AIR CONDITION SYSTEM
11.1.26 |  |  |  | AC System | Nos | 0 | 0 | 0 | 0 | 0 | 0
11.1.27 |  |  |  | Ceiling Mount Fresh Air Inlet grill | Nos | 0 | 0 | 0 | 0 | 0 | 0
CCTV SYSTEM
11.1.28 |  |  |  | Meraki (MR44) Wifi AP with 3 years license | Nos | 13 |  |  | 0 | 0 | 0
11.1.29 |  |  |  | Network switch (Huawei :Model: S5735-L48LP4S-A-V2) poe 48 port 10G | Nos | 1 |  |  | 0 | 0 | 0
11.1.30 |  |  |  | Camera 6 MP Dome IP Camera (Hikvision) | Nos | 26 |  |  | 0 | 0 | 0
11.1.31 |  |  |  | CAT6 data point for Nurse Call System (Bed) | nr | 18 |  |  | 0 | 0 | 0
11.1.32 |  |  |  | CAT6 data point for Nurse Call Monitor (Counters) | nr | 2 |  |  | 0 | 0 | 0
11.1.33 |  |  |  | CAT6 data point for Nurse Call System (Toilet) | nr | 6 |  |  | 0 | 0 | 0
11.1.34 |  |  |  | Salto - XS4 Mullion Reader Mifare / BLE - Black | Nos | 4 |  |  | 0 | 0 | 0
11.1.35 |  |  |  | Salto - 2 Reader Control Unit | Nos | 2 |  |  | 0 | 0 | 0
11.1.36 |  |  |  | Soca SI-85 Infrared Touchless Sensor Exit Button | Nos | 4 |  |  | 0 | 0 | 0
11.1.37 |  |  |  | Soca SD-30 Armored Door Loop | Nos | 4 |  |  | 0 | 0 | 0
11.1.38 |  |  |  | SOCA - L&Z Bracket | Nos | 4 |  |  | 0 | 0 | 0
11.1.39 |  |  |  | SOCA - Electromagnetic Lock Series (600lbs) | Nos | 4 |  |  | 0 | 0 | 0
11.1.40 |  |  |  | CAT6 data point for Wifi AP (Ceiling) | nr | 13 |  |  | 0 | 0 | 0
11.1.41 |  |  |  | CAT6 data point for TV (Waiting room - Wall TV Level) | nr | 1 |  |  | 0 | 0 | 0
11.1.42 |  |  |  | CAT6 data point for Camera (Waiting Room - Ceiling) | nr | 2 |  |  | 0 | 0 | 0
11.1.43 |  |  |  | CAT6 data point (Bed Head) | nr | 36 |  |  | 0 | 0 | 0
11.1.44 |  |  |  | CAT6 data point (Counters) | nr | 21 |  |  | 0 | 0 | 0
11.1.45 |  |  |  | CAT6 data point (Office) | nr | 6 |  |  | 0 | 0 | 0
11.1.46 |  |  |  | CAT6 data point (Procedure Room) | nr | 3 |  |  | 0 | 0 | 0
11.1.47 |  |  |  | CAT6 data point (Consultant Room) | nr | 3 |  |  | 0 | 0 | 0
11.1.48 |  |  |  | CAT6 data point (Doctors Lounge) | nr | 9 |  |  | 0 | 0 | 0
11.1.49 |  |  |  | CAT6 data point for Electronic Lock System | nr | 4 |  |  | 0 | 0 | 0
11.1.50 |  |  |  | CAT6 data point for Wifi AP (Ceiling) | nr | 13 |  |  | 0 | 0 | 0
| TOTAL OF BILL №: 11 - Carried Over To Summary | [7 empty] | 0 | 0 | 0
Bill №: 12 - PLUMBING
GENERAL
|  |  | (a) | Rates shall include for sockets, running joints, connectors, elbows, junctions, valves, reducers, expansion joints, backnuts and similar, incidental fitting, clips saddles, brackets, straps, hangers, screws, nails and fixing complete, including cutting and forming holes, excavating, laying pipes and backfilling trenches.
|  |  | (b) | All pipe work and fittings shall be high pressure PVC.
|  |  | (c) | Rates shall include for supply and fixing of all pipes.
|  |  | (d) | All sanitary fixtures used shall be of superior quality and approved by the architect/consultant on submission of samples.
12.1.01 |  |  |  | Water booster pump | item | 1 |  |  | 0 | 0 | 0
GROUND FLOOR
WATER SUPPLY
Provide and fix UPVC high pressure pipes including piping, connections, fittings, valves, excavations, ducting, fixing with brackets and leak testing.
12.1.02 |  |  |  | Water Connection | item | 1 |  |  | 0 | 0 | 0
INTERNAL PLUMBING - FRESH WATER SUPPLY PIPE
12.1.03 |  |  |  | Note: Internal plumbing to all toilets and kitchen including supply and laying of pipes. | item | 8 |  |  | 0 | 0 | 0
|  |  | EXTERNAL PLUMBING | [5 empty] | 0 | 0 | 0
12.1.04 |  |  |  | All pipe works under groundfloor screed/slab to be laid for Waste water, sewage, fresh water and well water connection. | item | 8 |  |  | 0 | 0 | 0
12.1.05 |  |  |  | Waste water and sewage connection from all the toilets including the necessary catch pits and manholes as necessary. Rates shall include for supply and laying of pipes including clean-outs as necessary. | item | 8 |  |  | 0 | 0 | 0
12.1.06 |  |  |  | Water connection to all toilets. Rate shall include for supply and laying of pipes. | item | 8 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0 | 0
| DISCHARGE WORK | [7 empty] | 0 | 0 | 0
12.1.07 |  |  |  | Provide and fix UPVC pipes including vent pipes, vent cowls, cleaning eye, connections, fittings, valves, excavations, ducting, fixing with brackets, connecting to proposed septic tank and leak testing. | item | 8 |  |  | 0 | 0 | 0
[9 empty] | 0 |  | 0
FIXTURES
Complete installation, cleaning and testing of:
12.1.08 |  |  |  | Wash basin | nr | 6 |  |  | 0 | 0 | 0
12.1.09 |  |  |  | Wash basin tap | nr | 6 |  |  | 0 | 0 | 0
12.1.10 |  |  |  | Muslim shower with stop valve | nr | 7 |  |  | 0 | 0 | 0
12.1.11 |  |  |  | Soap holder | nr | 7 |  |  | 0 | 0 | 0
12.1.12 |  |  |  | Floor Drain | nr | 10 |  |  | 0 | 0 | 0
12.1.13 | 510 | x | 1110 | mm Face Mirror | nr | 6 |  |  | 0 | 0 | 0
12.1.14 |  |  |  | Water Closet | nr | 7 |  |  | 0 | 0 | 0
12.1.15 |  |  |  | Shower Set | nr | 2 |  |  | 0 | 0 | 0
12.1.16 | 1600 | x | 600 | mm Counter top with tile finish | nr | 2 |  |  | 0 | 0 | 0
|  |  |  | TOTAL OF BILL №: 11 - Carried Over To Summary |  |  |  |  | 0 | 0 | 0