| Requirement and Use of the product Product name: Tissue Processor Brand: Increased work load and at present there is one machine currently in use, and if there is any damage or breakdown, there will be no alternative to process the samples. Hence an additional machine is required as a back up to prevent service interruption in service, this in turn increases the number of samples processed, reducing the turnaround time. | Product Picture |
| --- | --- |

| General Specifications Max Dimensions (HxWxD):1600x950x800 mm Operating Current (Max.):10 A (220 to 240 V~) Extended warranty Certified Training: Application and Biomedical Comprehensive training will be preferred All Service and application related documents to be provided After sales support is mandatory UPS inbuilt or provision available. | Technical Specification High quality tissue processing with enhanced workflows. High-capacity (more than 100 cassettes) | Features |
| --- | --- | --- |