## COVER
VILIMALE' HOSPITAL LAB
(FIRST FLOOR)
BILLS OF QUANTITIES

## SUMMARY
VILIMALE' HOSPITAL LAB
(FIRST FLOOR)
SUMMARY OF BILLS OF QUANTITIES
BILL No. | DESCRIPTION | QUOTATION No. | DATE | AMOUNT
1 | TOTAL OF BILL NO. 01 (PRELIMINARIES) |  | 2017-10-25 | 0
2 | TOTAL OF BILL NO. 02 (DEMOLITION & PLASTERING WORKS) |  |  | 0
3 | TOTAL OF BILL NO. 03 (WORK BENCHES & COUNTERS WORKS) |  |  | 0
4 | TOTAL OF BILL NO. 04 (PARTITION WORKS) |  |  | 0
5 | TOTAL OF BILL NO. 05 (DOOR WORKS) |  |  | 0
6 | TOTAL OF BILL NO. 06 (AIR CONDITIONING WORKS) |  |  | 0
7 | TOTAL OF BILL NO. 07 (ELECTRICAL & NETWORK INSTALLATIONS) |  |  | 0
8 | TOTAL OF BILL NO. 08 (HYDRAULICS & DRAINAGE) |  |  | 0
| TOTAL OF BILL NO. 09 (ADDITIONS) |  |  | 0
9 | TOTAL OF BILL NO. 10 (OMMISSIONS) |  |  | 0
| TOTAL |  |  | 0 | 2276308.5 | 227630.85
| GST 8% |  |  | 0
GRAND TOTAL

## BOQ
VILIMALE' HOSPITAL LAB
(FIRST FLOOR)
Item | Description | Unit | QTY | LABOUR RATE | MATERIAL RATE | TOTAL AMOUNT
1 | Bill NO: 1
PRELIMINARIES
1.1 | General Notes
1) | Abbreviations
m - meter
No - numbers
m3 - cubic meter
m2 - square meter
Lm - Linear meter
t - tonnes
md - including
mm - millimeter
dia - diameter
SS - Stainless Steel
GI - Galvanised Iron
1.2 | Site Management Costs
1.2.1 | Allow for all on and off site management cost
| including costs of foreman and assistants, | item | 1 |  |  | 0
temporary services, hoardings and similar.
1.3 | Clean - up
1.3.1 | Allow for clean - up of completed works and site
| upon completion. | item | 1 |  |  | 0
TOTAL OF BILL NO. 01 (PRELIMINARIES) | [5 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
2 | Bill No: 02
2.1 | DEMOLITION & PLASTERING WORKS
General
(a) Cutting or leaving holes and openings as recesses for and building in pipes, conduits , sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding frames or plates, building in joints.
b) Rates shall include for: All necessary material & Painting
Plastering & Demolishion Works
2.1.1 | Wall Demolition Door Opening (D3x2) | m2 | 9.3 |  |  | 0
2.1.2 | Remove Existing Aluminium Door (4 Doors) | nos | 4 |  |  | 0
2.1.3 | Plastering Door Edges & All the Walls Demolished | item | 1 |  |  | 0
2.1.4 | Tiling Door Edges & All the Walls Demolished | item | 1 |  |  | 0
TOTAL OF BILL NO. 02 (DEMOLITION & PLASTERING WORKS) | [5 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
3 | Bill No: 03
WORK BENCHES & COUNTERS
General
(a) Cutting or leaving holes and openings as recesses for and building in pipes, conduits , sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding frames or plates, building in joints.
(b) Rates shall include for: Welding, Reinforcement and Timber meterials as per the Drawing.
(c) Rates shall include for: Screws, Gluing, and other meterials uesd for the work.
(d) Rates shall include for: Drainage and Water Connections Works
(e) Rates shall include for: Complete supply and installation of benches and filing cabinets including all fixings, fittings, finishes and accessories
(f) Rates shall include for: Plastering Door Edges & All the Walls Demolished & Do All the Repairing Works of Floor Screeding & Walls Plastering
3.1 | Metel Works
3.1.1 | Centrifuge Bench | item | 1 |  |  | 0
3.2 | RCC Works
3.2.1 | Work Bench Sink with (Water connections, Drainage, Elbow operated Tap & others) | item | 1 |  |  | 0
3.2.2 | Micro Biology Bench (as per the drawing) | item | 1 |  |  | 0
3.2.3 | Micro Biology Bench Sink with (Water connections, Drainage, Elbow operated Tap & others) | item | 1 |  |  | 0
3.3 | Timber Works
3.3.1 | Phlebotomy Counter | item | 1 |  |  | 0
3.3.2 | Houskeeping Cupboard
3.3.3 | Electrical Box (15.44m) | item | 1 |  |  | 0
TOTAL OF BILL NO. 03 (WORK BENCHES & COUNTERS WORKS) | [5 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
4 | Bill No: 04
PARTITION WORKS
General
(a) Rates shall include for: C Channel for Vertical & Horizontal Supports with Cement Fiber Board / Shera Board Partition Works.
(b) Rates shall include for: Screws, Gluing, and other meterials uesd for the work.
(c) Rates shall include for all the ceiling damaged area
4.1 | Partition
4.1.1 | Cement Fiber Board / Shera Board Partition | m2 | 30.1 |  |  | 0
4.1.2 | Cement Fiber Board / Shera Board Partition for the Removed Door openings. | m3 | 5.77 |  |  | 0
4.1.1 | Ceiling | item | 1 |  |  | 0
TOTAL OF BILL NO. 04 (PARTITION WORKS) | [5 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 05
DOORS
DOORS Works
General
a) Rates shall include for: locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
b) All Aluminium windows shall be 60 micron white powder coated.
c) Rates shall include for: Hydraulic Door Closers fixing & Electronicl Door Closers fixingnetworking
c) All glazing shall be 6mm Tinted
(Profiles to be chosen by client).
5.1 | Aluminium Door units
5.1.1 | Door D1 | nos | 1 |  |  | 0
5.1.2 | Door D2 & Sliding Door Closer | nos | 2 |  |  | 0
5.1.3 | Door D3 | nos | 2 |  |  | 0
5.1.4 | Door D4 | nos | 1 |  |  | 0
5.1.5 | Door D5 | nos | 1 |  |  | 0
5.1.6 | Door D6 | nos | 1 |  |  | 0
TOTAL OF BILL NO. 05 (DOOR WORKS) | [5 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 06
AIR CONDITIONING WORKS
General
a) Rates shall include for: all labour in framing, notching and fitting around projections, pipes,light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
6.1 | AC Units
6.1.1 | Wall Mount AC (Lab Phlebotomy) 18000 BTU | item | 1 |  |  | 0
6.1.2 | Wall Mount AC (Micro Biology) 19000 BTU | item | 1 |  |  | 0
6.1.3 | Wall Mount AC (Labotatory) 18000 BTU | item | 1 |  |  | 0
6.1.4 | Wall Mount AC (Autoclave Room) 12000 BTU | item | 1 |  |  | 0
TOTAL OF BILL NO. 06 (AIR CONDITIONING WORKS) | [5 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 07
ELECTRICAL & NETWORK INSTALLATIONS
General
a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips & accessories.
b) Rate shall include for electrical conduits, fittings, PVC Duct, Equipment and similar all fixings
c) Rate shall include for supply and complete installation.
d) *Module cosec path DCFE mifare + Pinger controlller POE. *Site Controller for Multiple Door Controller. *Matrix Certified EM 600lbs Magnatic Lock Including Z&L Bracket for in swinging doors.
(e) Rates shall include for electrical conduits, fittings, equipment and similar all fixings to various building surfaces
7.1 | Network Connections
7.1.1 | Access Controller, ZKTECO RS485 Fingerprint Reader - FR1200/ID, Model: FR1200/ID | nos | 2 |  |  | 0
7.1.2 | Inbio 260 Controller | nos | 1 |  |  | 0
7.1.3 | Dead Bolt Lock Dead Bolt Lock (All Purpose Type) Model: SL-130A | nos | 2 |  |  | 0
7.1.4 | Exit Switch, Soca Push Button (115mmx39mm) Model: SW-20S | nos | 3 |  |  | 0
7.1.5 | Data Socket Point (2 Gang) | nos | 30 |  |  | 0
7.1.6 | Data Socket Point (1 Gang) | nos | 5 |  |  | 0
7.1.7 | Network Cable to Connections (Network Cat 6 Cable) | item | 1 |  |  | 0
7.1.8 | Deta Switch Rack (Including the Switch Pennel) | nos | 1 |  |  | 0
7.2 | Electrical Socket Outlets
All sockets shall be "Clipsal"or equivalent
7.2.1 | 13 Amps Socket Switch Single (Above Ceiling) Socket Cabling & Connections | nos | 7 |  |  | 0
7.2.2 | 15 Amps Socket Switch Single (Above Ceiling) Socket Cabling & Connections | nos | 7 |  |  | 0
7.2.3 | 13 Amps Socket Switch double Socket Cabling & Connections (Live) | nos | 36 |  |  | 0
7.2.4 | 13 Amps Socket Switch double Socket Cabling & Connections (UPS) | nos | 10 |  |  | 0
7.2.5 | 2 Gang Switch Cabling & Connections | nos | 1 |  |  | 0
7.2.6 | 3 Gang Switch Cabling & Connections | nos | 2 |  |  | 0
7.2.7 | 4 Gang Switch Cabling & Connections | nos | 3 |  |  | 0
7.2.8 | Celing Resist Led Light (36 Watts) | nos | 20 |  |  | 0
7.2.9 | Power DB (3 Phase) | nos | 2 |  |  | 0
7.2.10 | AC DB (3 Phase) | nos | 1 |  |  | 0
7.2.11 | UPS DB (3 Phase) | nos | 1 |  |  | 0
7.2.12 | 4 Core 10mm2 Cable | nos | 1 |  |  | 0
TOTAL OF BILL NO. 07 (ELECTRICAL & NETWORK INSTALLATIONS) | [5 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 08
HYDRAULICS & DRAINAGE
General
(a) Rates shall include for: all labour in framing, notching and fitting around projections, pipes,light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
(b) All fresh water pipe works and fittings shall be high pressure PVC ( 13.5bars ) and Drain water pipes shall be medium pressure PVC ( 8.5bars ).
(c) Rates shall include for excavation, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus soil, bends, junctions, reducers, expansion joints and all joints and other incidental materials.
(d) The contractor shall take delivery and fixing.
(e) Installing fresh water pipes from MWSC meters to the respective locations through respective ducts as given in the detail drawings
(d) Installing 50mmØ Drain water main pipes from respective locations to the respective inspection chambers through respective ducts as given in the detail drawings
(e) Sanitary fixtures complete including brackets, flush pipes, connecting pipes, terminating faucets, over flows, plugs, valves and washers as specified.
6.1 | Sanitary fixtures
6.1.1 | Wash Basin (Autoclave & Housekeeping Room) | item | 1 |  |  | 0
6.1.2 | Sink (Serology & Work Bench) | item | 3 |  |  | 0
6.1.3 | Elbow operated Tap | item | 4 |  |  | 0
TOTAL OF BILL NO. 08 (HYDRAULICS & DRAINAGE) | [5 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 09
ADDITIONS
1.1 | General
| All Additional Works | nos |  |  |  | 0
TOTAL OF BILL NO. 09 (ADDITIONS) | [5 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 10
OMMISSIONS
1.1 | General
| All Omission Works | nos |  |  |  | 0
TOTAL OF BILL NO. 10 (OMMISSIONS) | [5 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Note: All Meterials to be Approved by IGMH