## Cover
BILL OF QUANTITIES
IGMH PHLEBOTOMY AREA MAY 2026
CLIENT : IGMH

## BOQ Summary
SUMMARY OF BILLS OF QUANTITIES
IGMH PHLEBOTOMY AREA MAY 2026
| DESCRIPTION | MATERIAL COST | LABOUR COST | AMOUNT
| Bill №: 01 - DEMOLITION | 0 | 0 | 0
| Bill №: 02 - DOORS & WINDOWS | 0 | 0 | 0
| Bill №: 03 - MASONRY | 0 | 0 | 0
| Bill №: 04 - STRUCTURAL WORKS | 0 | 0 | 0
| Bill №: 05 - PLASTERING | 0 | 0 | 0
| Bill №: 06 - FLOOR, WALL FINISHINGS | 0 | 0 | 0
| Bill №: 07 - DRYWALL & SUSPENDED CEILING | 0 | 0 | 0
| Bill №: 08 -FURNITURE | 0 | 0 | 0
| Bill №: 09 - PAINTING & DECORATIONS | 0 | 0 | 0
| Bill №:11 - MECHANICAL & ELECTRICAL SERVICES | 0 | 0 | 0
| Bill №: 12 - PLUMBING | 0 | 0 | 0
| TOTAL AMOUNT | 0 | 0 | 0
| GST 8% |  |  | 0
| TOTAL AMOUNT including GST |  |  | 0

## BOQ
IGMH PHLEBOTOMY AREA MAY 2026
Republic of Maldives
BILL OF QUANTITIES
ITEM |  |  |  | DESCRIPTION | UNIT | QTY | MATERIAL RATE | LABOUR RATE | MATERIAL AMOUNT | LABOUR AMOUNT | AMOUNT
1.0.00 |  |  |  | Bill №: 01 - DEMOLITION
GENERAL
|  |  | (a) | Careful demolition and dismantling of existing masonry walls, partitions (block/gypsum/wooden), RCC staircase, and bench structures, including cutting, breaking, and removal of concrete and reinforcement wherever required. The work also includes removal of existing toilet fixtures, fittings, and wall/floor tiles with necessary plumbing disconnections. All debris shall be collected, removed, and disposed of outside the site as per instructions, complete in all respects.
1.1.00 | DEMOLITION WORK
1.1.01 |  |  |  | Wall Demolition | m2 | 234.08 | 0 | 0 | 0 | 0 | 0
1.1.02 |  |  |  | Partition demolition | m2 | 61.6 | 0 | 0 | 0 | 0 | 0
1.1.03 |  |  |  | RCC stair demolition | m2 | 7.55 | 0 | 0 | 0 | 0 | 0
1.1.04 |  |  |  | Bench Demolition | m2 | 15.2 | 0 | 0 | 0 | 0 | 0
1.1.05 |  |  |  | Toilet fixtures and tiles removal | m2 | 42 | 0 | 0 | 0 | 0 | 0
1.2.00 | Excavation & Back Filling
a) Rates shall include for: Excavation quantities are measured to the faces of concrete members. Rates shall include for all the additional excavation required to place the formwork. Rates shall include for backfilling.
1.2.01 |  |  |  | Excavation | m3 | 279.31 | 0 | 0 | 0 | 0 | 0
1.2.02 |  |  |  | Back Filling | m3 | 326.13 | 0 | 0 | 0 | 0 | 0
|  |  |  | TOTAL OF BILL №: 01 - Carried Over To Summary |  |  |  |  | 0 | 0 | 0
2.0.00 |  |  |  | Bill №: 02 - DOORS & WINDOWS
GENERAL
|  |  | (a) | Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
|  |  | (b) | Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boardings, framing, lining, fastenings and all fixings.
|  |  | (c) | Sizes are given overall outside dimensions of actual doors and windows.
|  |  | (d) | Thickness and sizes of glass panels are shown on the Drawings and doors and windows schedule
|  |  | (e) | Rates shall include for all painting as specified
|  |  | (f) | Rates shall include all items specified in the door schedule and specification.
|  |  | (g) | Frames and sashes to be 25-60 micron white powder coated aluminium other wise specified.
2.1.00 | GROUND FLOOR
2.1.12 | 1900 | x | 2100 | D1-Timber Door & Fixed Window | nr | 1 | 0 |  | 0 | 0 | 0
2.1.12 | 900 | x | 2100 | D2-Timber Door | nr | 1 | 0 | 0 | 0 | 0 | 0
2.1.12 | 700 | x | 2100 | D3-Timber Door | nr | 3 | 0 | 0 | 0 | 0 | 0
2.1.12 | 700 | x | 2100 | D4-Fiber Door | nr | 5 | 0 | 0 | 0 | 0 | 0
2.1.12 | 1100 | x | 2100 | D5-Timber Door | nr | 2 | 0 | 0 | 0 | 0 | 0
2.1.12 | 800 | x | 2200 | D6-Timber Sliding Door | nr | 3 | 0 | 0 | 0 | 0 | 0
2.1.12 | 2800 | x | 2000 | FG1-Aluminium Fixed Window | nr | 1 | 0 | 0 | 0 | 0 | 0
2.1.12 | 1475 | x | 2500 | FG2-Aluminium Fixed Window | nr | 1 | 0 | 0 | 0 | 0 | 0
2.1.12 | 1500 | x | 2500 | FG3-Aluminium Fixed Window | nr | 1 | 0 | 0 | 0 | 0 | 0
2.1.12 | 1640 | x | 2200 | FG4-Aluminium Fixed Window | nr | 1 | 0 | 0 | 0 | 0 | 0
2.1.12 | 3155 | x | 2200 | FG5-Aluminium Fixed Window | nr | 1 | 0 | 0 | 0 | 0 | 0
2.1.12 | 1600 | x | 2200 | FG6-Aluminium Fixed Window | nr | 1 | 0 | 0 | 0 | 0 | 0
2.1.12 | 3495 | x | 1600 | FG1-Fixed Glass | nr | 1 | 0 | 0 | 0 | 0 | 0
2.1.12 | 2346 | x | 1600 | FG2-Fixed Glass | nr | 1 | 0 | 0 | 0 | 0 | 0
|  |  |  | TOTAL OF BILL №: 02 - Carried Over To Summary |  |  |  |  | 0 | 0 | 0
3.0.00 |  |  |  | Bill №: 03 - MASONRY
GENERAL
|  |  | (a) | Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs, cutting or leavingholes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashing, bedding frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good.
3.1.00 | BLOCK WORK
Cement block wall, bricks laid to form alternate courses of headers and stretchers, laid on and inc. mortar (INTERNAL WALLS).
|  |  | 100 | mm thk full height (Full block)
3.1.01 |  |  |  | GROUND FLOOR | m2 | 182 | 0 | 0 | 0 | 0 | 0
3.1.02 |  |  |  | 4" Solid Bricks | Nos | 4186 | 0 |  | 0 | 0 | 0
3.1.03 |  |  |  | Cement | Bag | 41.86 | 0 | 0 | 0 | 0 | 0
3.1.04 |  |  |  | Coarse Sand | Bag | 209.3 | 0 | 0 | 0 | 0 | 0
|  |  |  | TOTAL OF BILL №: 03 - Carried Over To Summary |  |  |  |  | 0 | 0 | 0
4.0.00 |  |  |  | Bill №: 04 - STRUCTURAL WORKS
GENERAL
a )Rates shall include for cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs.
b )Cutting or leaving holes and openings as recesses for and building in pipes, conduits , sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding frames or plates, building in joints.
c ) All external wall and all inetrenal walls shall be and for masonry mix ratio 1:5 (cement and river sand)
(d) 15mm thick Cement plastering on interior walls and concrete surface as specified incl. wire mesh shall be fixed at the joints of concrete surfaces and walls before plastering. Quantity is measured including concrete surfaces - Parapetwalls, Liftwalls, columns & beams.
(e)Rates shall include for External plastering shall 20mm thick (12+8mm) 2 coats in 1:4 cement and river sand mix ratio
f) Rates shall include for approved brand water proofing compound shall be mixed with cement mortar for external wall plastering as per manufacturers specifications.
g) Apply 2 coats of water proofing paint on all concrete surfaces below finished floor level in accordance with BS 8102 standards
h) Damp proof membrane under foundation
i) Apply 2 coats of Bituminous paint or similar on all concrete surfaces below ground level in accordance with manufacturer's instructions
4.1.00 | Concrete Works
4.1.01 |  |  |  | Foundation Beam - TB (Price Include Reinfocements) | Lm | 237 | 0 | 0 | 0 | 0 | 0
4.1.02 |  |  |  | Roof Beam - RB1 (Price Include Reinfocements) | Lm | 158.6 | 0 | 0 | 0 | 0 | 0
4.1.03 |  |  |  | Roof Beam - RB2 (Price Include Reinfocements) | Lm | 2.8 | 0 | 0 | 0 | 0 | 0
4.1.04 |  |  |  | 140mm thk RC Slab / Roof Slab (Price Include Reinfocements) | m2 | 6.95 | 0 | 0 | 0 | 0 | 0
4.1.05 |  |  |  | 140mm thk RC Slab / Stair Slab (Price Include Reinfocements) | m2 | 7.16 | 0 | 0 | 0 | 0 | 0
4.1.06 |  |  |  | Reinforcement Anchorage Chemicle | item | 1 | 0 | 0 | 0 | 0 | 0
4.2.00 | Masanary & Plastering Works
4.2.01 |  |  |  | Light Weight Silicon Solid Block, laid on and incl. 1:5 Cement Mortor, tie rods, compression gap filler, nylon / plastic mesh as specified.
4.2.02 |  |  |  | 150mm Cement Block Wall | m2 | 51.1 | 0 | 0 | 0 | 0 | 0
4.2.03 |  |  |  | 100mm Cement Block Wall | m2 | 75.9 | 0 | 0 | 0 | 0 | 0
4.2.04 |  |  |  | Plastering Both Sides & Door & Windor Openings | m2 | 252.9 | 0 | 0 | 0 | 0 | 0
4.3.00 | Masanary & Plastering Works
4.3.01 |  |  |  | a)Rates shall include for: fair edges, dressing over angel fillets, roof sealant, turning into grooves, all other labours, circular edges, nails, screws and other fixings and laps.
4.3.02 |  |  |  | Lysaght roofing sheet to specification | m2 | 29.43 | 0 | 0 | 0 | 0 | 0
4.3.03 |  |  |  | 50mm mineral wool insulation with reflective layers on both installed as per suppliers specifications with recommended lap length and air gap tape. Rate shall include for fiber mesh over purlins to support insulation layer. | m2 | 29.43 | 0 | 0 | 0 | 0 | 0
4.3.04 |  |  |  | 150x150mm Lysaght Gutter | lm | 5.5 | 0 | 0 | 0 | 0 | 0
4.3.05 |  |  |  | 200x200mm Lysaght Flashing | lm | 15.45 | 0 | 0 | 0 | 0 | 0
4.3.06 |  |  |  | 50x150mm Timber Hard Wood Rafters | lm | 37.45 | 0 | 0 | 0 | 0 | 0
4.3.07 |  |  |  | 50x150mm Header Timber Hard Rafter | lm | 5.5 | 0 | 0 | 0 | 0 | 0
4.3.08 |  |  |  | 35x50mm Timber Timber Hard Purlins | lm | 49.5 | 0 | 0 | 0 | 0 | 0
4.3.09 |  |  |  | 25x200mm Fascia Board | lm | 5.5 | 0 | 0 | 0 | 0 | 0
4.3.10 |  |  |  | 82mm dia rain water pipe | lm | 6.6 | 0 | 0 | 0 | 0 | 0
Roof Works
a)Rates shall include for: fair edges, dressing over angel fillets, roof sealant, turning into grooves, all other labours, circular edges, nails, screws and other fixings and laps.
|  |  |  | Lysaght roofing sheet to specification | m2 | 29.43 | 0 | 0 | 0 | 0 | 0
|  |  |  | 50mm mineral wool insulation with reflective layers on both installed as per suppliers specifications with recommended lap length and air gap tape. Rate shall include for fiber mesh over purlins to support insulation layer. | m2 |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 150x150mm Lysaght Gutter | lm | 5.5 | 0 | 0 | 0 | 0 | 0
|  |  |  | 200x200mm Lysaght Flashing | lm | 15.45 | 0 | 0 | 0 | 0 | 0
|  |  |  | 50x150mm Timber Hard Wood Rafters | lm | 37.45 | 0 | 0 | 0 | 0 | 0
|  |  |  | 50x150mm Header Timber Hard Rafter | lm | 5.5 | 0 | 0 | 0 | 0 | 0
|  |  |  | 35x50mm Timber Timber Hard Purlins | lm | 49.5 | 0 | 0 | 0 | 0 | 0
|  |  |  | 25x200mm Fascia Board | lm | 5.5 | 0 | 0 | 0 | 0 | 0
|  |  |  | 82mm dia rain water pipe | lm | 6.6 | 0 | 0 | 0 | 0 | 0
|  |  |  | TOTAL OF BILL №: 04 - Carried Over To Summary |  |  |  |  | 0 | 0 | 0
5.0.00 |  |  |  | Bill №: 05 - PLASTERING
GENERAL
|  |  | (a) | Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs, cutting or leavingholes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashing, bedding frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good.
5.1.00 | PLASTERING WORK
|  |  | 16 | mm thk cement plaster on internal surface as specified on the drawing
5.1.01 |  |  |  | GROUND FLOOR | m2 | 390 | 0 | 0 | 0 | 0 | 0
5.1.02 |  |  |  | Cement | Bag | 48.75 | 0 | 0 | 0 | 0 | 0
5.1.03 |  |  |  | Fine Sand | Bag | 195 | 0 | 0 | 0 | 0 | 0
|  |  |  | TOTAL OF BILL №: 05 - Carried Over To Summary |  |  |  |  | 0 | 0 | 0
6.0.00 |  |  |  | Bill №: 06 - FLOOR, WALL FINISHINGS
GENERAL
|  |  | (a) | Rates shall include for: fixing, bedding, grouting, and pointing materials; making good around pipes, sanitary fixtures, and similar; cleaning down and polishing.
|  |  | (b) | "Masterseal 550" or equivalent should be applied on top of screeds and walls upto 600mm in all toilets.
6.1.00 | WATER PROOFING
TOILETS,BALCONY,TERRACE
6.1.01 |  |  |  | GROUND FLOOR | m2 | 21.152 | 0 | 0 | 0 | 0 | 0
6.2.00 | RAMP STEP CONCRETE
6.2.01 |  |  |  | GROUND FLOOR | m2 | 57.783 | 0 | 0 | 0 | 0 | 0
6.3.00 | CEMENT SCREED
|  |  | 50 | mm thk cement screed
6.3.01 |  |  |  | GROUND FLOOR | m2 | 316.806 | 0 | 0 | 0 | 0 | 0
6.3.02 |  |  |  | Cement | Bag | 105.602 | 0 | 0 | 0 | 0 | 0
6.3.03 |  |  |  | Coarse Sand | Bag | 422.408 | 0 | 0 | 0 | 0 | 0
6.4.00 | POLYVINYL FLOORING
6.4.01 |  |  |  | PVC VINYL FLOORING WHITE (Hospital Grade) | m2 | 175 | 0 | 0 | 0 | 0 | 0
6.4.02 |  |  |  | PVC VINYL FLOORING GREEN (Hospital Grade) | m2 | 57.932 | 0 | 0 | 0 | 0 | 0
6.5.00 | FLOOR TILING
| 600 | x | 600 | mm Homogenous tiles
6.5.01 |  |  |  | GROUND FLOOR | m2 | 14.845 | 0 | 0 | 0 | 0 | 0
6.5.02 |  |  |  | 600x600mm Floor tiles | Nos | 45.3597 | 0 | 0 | 0 | 0 | 0
6.5.03 |  |  |  | Tile adhesive 25kg | bag | 11.3399 | 0 | 0 | 0 | 0 | 0
6.6.00 | WALL TILING
| 300 | x | 600 | mm Homogenous tiles
6.6.01 |  |  |  | GROUND FLOOR | m2 | 95.9 | 0 | 0 | 0 | 0 | 0
6.6.02 |  |  |  | 600x300mm Wall tiles | Nos | 586.0556 | 0 | 0 | 0 | 0 | 0
6.6.03 |  |  |  | Tile adhesive 25kg | bag | 58.6056 | 0 | 0 | 0 | 0 | 0
6.7.00 | WALL PANEL
6.7.01 |  |  |  | PLAIN WALL PANEL | m2 | 259 | 0 | 0 | 0 | 0 | 0
6.7.02 |  |  |  | GROOVED WALL PANEL | m2 | 78.4 | 0 | 0 | 0 | 0 | 0
6.7.03 |  |  |  | FLUTED GROOVED WALL PANEL | m2 | 98 | 0 | 0 | 0 | 0 | 0
|  |  |  | TOTAL OF BILL №: 06 - Carried Over To Summary |  |  |  |  | 0 | 0 | 0
7.0.00 |  |  |  | Bill №: 07 - DRYWALL & SUSPENDED CEILING
GENERAL
|  |  | (a) | Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
7.1.00 | DRYWALL
Fixed plasterboard ceiling system with C-Channel framing
7.1.01 |  |  |  | GROUND FLOOR | m2 | 48 | 0 | 0 | 0 | 0 | 0
7.1.02 |  |  |  | 6mm cement Board | Nos | 33.3333 | 0 |  | 0 |  | 0
7.1.03 |  |  |  | 35 x 50 mm treated pine wood timber | m | 288 | 0 |  | 0 |  | 0
7.1.04 |  |  |  | 3" black Screw | Nos | 720 | 0 |  | 0 |  | 0
7.1.05 |  |  |  | 1 1/2" black screw | Nos | 398.4 | 0 |  | 0 |  | 0
7.1.06 |  |  |  | 1" black screw | Nos | 398.4 | 0 |  | 0 |  | 0
7.1.07 |  |  |  | 1 1/2" Wall plug | Nos | 720 | 0 |  | 0 |  | 0
7.2.00 | PLASTERBOARD CEILING
Fixed plasterboard ceiling system with C-Channe framing
7.2.01 |  |  |  | GROUND FLOOR | m2 | 276 |  | 0 | 0 | 0 | 0
7.2.02 |  |  |  | 6mm cement Board | Nos | 95.8333 | 0 |  | 0 |  | 0
7.2.03 |  |  |  | 35 x 50 mm treated pine wood timber | m | 1656 | 0 |  | 0 |  | 0
7.2.04 |  |  |  | 3" black Screw | Nos | 2070 | 0 |  | 0 |  | 0
7.2.05 |  |  |  | 1 1/2" black screw | Nos | 2290.8 | 0 |  | 0 |  | 0
7.2.06 |  |  |  | 1" black screw | Nos | 2290.8 | 0 |  | 0 |  | 0
7.2.07 |  |  |  | 1 1/2" Wall plug | Nos | 2070 | 0 |  | 0 |  | 0
6.1.02 |  |  |  | TERRACE FLOOR TOILET | m2 | 400 |  | 100 | 0 | 40000 | 40000
|  |  |  | 6mm cement Board | Nos | 138.8889 | 350 |  | 48611.1111 |  | 48611.1111
|  |  |  | 35 x 50 mm treated pine wood timber | m | 2400 | 35 |  | 84000 |  | 84000
|  |  |  | 3" black Screw | Nos | 3000 | 2 |  | 6000 |  | 6000
|  |  |  | 1 1/2" black screw | Nos | 3320 | 1.5 |  | 4980 |  | 4980
|  |  |  | 1" black screw | Nos | 3320 | 0.5 |  | 1660 |  | 1660
|  |  |  | 1 1/2" Wall plug | Nos | 3000 | 1 |  | 3000 |  | 3000
|  |  |  | TOTAL OF BILL №: 07 - Carried Over To Summary |  |  |  |  | 0 | 0 | 0
8.0.00 |  |  |  | Bill №: 08 -FURNITURE
RECEPTION DESK
|  |  |  | Providing and fixing reception desk of approved design and dimensions, made with high-quality plywood / MDF board with laminate finish, including all necessary framing, supports, and accessories, complete as per drawings and instructions of Engineer-in-Charge. | Nos | 1 |  | 0 | 0 | 0 | 0
8.1.01 |  |  |  | 18mm Block Board 4ft x 8ft | Nos | 5 | 0 |  | 0 |  | 0
8.1.02 |  |  |  | 18mm Groved Block Board 4ft x 8ft | Nos | 1 | 0 |  | 0 |  | 0
8.1.03 |  |  |  | Laminated 8mm Glass | Nos | 1 | 0 |  | 0 |  | 0
8.1.04 |  |  |  | Teak | m | 80 | 0 |  | 0 |  | 0
8.1.05 |  |  |  | Screws & Pins | LS | 1 | 0 |  | 0 |  | 0
8.1.06 |  |  |  | MS concealed brackets | Nos | 4 | 0 |  | 0 |  | 0
8.1.07 |  |  |  | Anchor bolt 8mm | Nos | 8 | 0 |  | 0 |  | 0
8.1.00 | SAMPLE COLLECTION AND STAFF ENTRY DOOR
8.1.01 |  |  |  | Providing and fixing powder-coated aluminium door (180° openable) with adjacent fixed glass panel, using approved aluminium sections and 6mm thick toughened glass (clear/frosted), complete with hinges, handle, lock, door closer/floor spring, gaskets, and fittings, including fabrication, installation, and sealing, as per drawings and instructions of the Engineer-in-Charge. | Nos | 1 | 0 | 0 | 0 | 0 | 0
8.2.00 | STORAGE CABINET
|  |  |  | Providing and fixing storage cabinet made of 18mm thick block board, finished with laminate on all surfaces, including shelves, shutters, hinges, handles, and locks, complete with all fittings, installation, and finishing as per drawings and Engineer-in-Charge instructions. | Nos | 1 |  | 0 | 0 | 0 | 0
8.2.1 |  |  |  | 18mm Block Board 4ft x 8ft | Nos | 5 | 0 |  | 0 |  | 0
8.2.2 |  |  |  | 9mm Foam Board 4 ft x 8 ft | Nos | 2 | 0 |  | 0 |  | 0
8.2.3 |  |  |  | Teak | m | 100 | 0 |  | 0 |  | 0
8.2.4 |  |  |  | Door Hinges | Nos | 9 | 0 |  | 0 |  | 0
8.2.5 |  |  |  | Door Handle | Nos | 3 | 0 |  | 0 |  | 0
8.2.6 |  |  |  | Screws & Pins | LS | 1 | 0 |  | 0 |  | 0
8.2.7 |  |  |  | Push button | Nos | 6 | 0 |  | 0 |  | 0
8.2.8 |  |  |  | Supports | Nos | 32 | 0 |  | 0 |  | 0
8.3.00 | BENCH CHAIR
8.3.01 |  |  |  | Providing and supplying bench chair with 4 seating capacity, made of MS powder-coated frame with moulded plastic / cushioned seats and backrest (approved design), fixed firmly to the frame, including armrests (if required), complete with all fittings, labour, transportation, and installation as per Engineer-in-Charge instructions. | Nos | 13 | 0 | 0 | 0 | 0 | 0
8.4.00 | BENCH SEATING 1
8.4.1 |  |  |  | Providing and fixing seating unit with plantation box, made of timber framing and 18mm thick block board, finished with laminate, including seating cushion of approved fabric and density, and integrated plantation box, complete with all fittings, labour, installation, and finishing as per Engineer-in-Charge instructions. | Nos | 1 | 0 | 0 | 0 | 0 | 0
8.5.00 | BENCH SEATING 2
8.5.01 |  |  |  | Providing and fixing seating unit, made of timber framing and 18mm thick block board, finished with laminate, including seating cushion of approved fabric and density complete with all fittings, labour, installation, and finishing as per Engineer-in-Charge instructions. | Nos | 1 | 0 | 0 | 0 | 0 | 0
8.6.00 | SAMPLE COLLECTION AREA COUNTER
8.6.01 |  |  |  | Providing and fixing counter with cabinet, made of 18mm block board with laminate finish, including stainless steel sink, CP tap, wall-mounted mirror, and all necessary fittings, plumbing, installation, and finishing as per Engineer-in-Charge instructions. | Nos | 1 |  | 0 | 0 | 0 | 0
8.6.02 |  |  |  | 18mm Block Board 4ft x 8ft | Nos | 6 | 0 |  | 0 |  | 0
8.6.03 |  |  |  | 9mm Foam Board 4 ft x 8 ft | Nos | 2 | 0 |  | 0 |  | 0
8.6.04 |  |  |  | Teak | m | 80 | 0 |  | 0 |  | 0
8.6.05 |  |  |  | Screws & Pins | LS | 1 | 0 |  | 0 |  | 0
8.6.06 |  |  |  | Door Hinges | Nos | 10 | 0 |  | 0 |  | 0
8.6.07 |  |  |  | Door Handle | Nos | 5 | 0 |  | 0 |  | 0
8.6.08 |  |  |  | Push button | Nos | 10 | 0 |  | 0 |  | 0
8.6.09 |  |  |  | Sink with Tap | Nos | 1 | 0 |  | 0 |  | 0
8.6.10 |  |  |  | Mirror | Nos | 1 | 0 |  | 0 | 0 | 0
8.6.11 |  |  |  | Counter top stone | m2 | 1.5 | 0 |  | 0 | 0 | 0
8.7.00 | INDOOR WATER FEATURE
8.7.01 |  |  |  | Providing and installing indoor water feature of approved design and size, including water tank/reservoir, decorative finish, and submersible pump with piping and electrical connections, complete with all fittings, testing, commissioning, and finishing as per Engineer-in-Charge instructions. | Nos | 1 | 0 | 0 | 0 | 0 | 0
8.8.00 | DOUBLE VANITY
8.8.01 |  |  |  | Providing and fixing counter with cabinet, made of 18mm block board with laminate finish, including stainless steel sink, CP tap, wall-mounted mirror, and all necessary fittings, plumbing, installation, and finishing as per Engineer-in-Charge instructions. | Nos | 1 |  | 0 | 0 | 0 | 0
8.8.02 |  |  |  | 18mm Block Board 4ft x 8ft | Nos | 4 | 0 |  | 0 |  | 0
8.8.03 |  |  |  | 9mm Foam Board 4 ft x 8 ft | Nos | 1 | 0 |  | 0 |  | 0
8.8.04 |  |  |  | Teak | m | 40 | 0 |  | 0 |  | 0
8.8.05 |  |  |  | Screws & Pins | LS | 1 | 0 |  | 0 |  | 0
8.8.06 |  |  |  | Door Hinges | Nos | 8 | 0 |  | 0 |  | 0
8.8.07 |  |  |  | Door Handle | Nos | 4 | 0 |  | 0 |  | 0
8.8.08 |  |  |  | Push button | Nos | 8 | 0 |  | 0 |  | 0
8.8.09 |  |  |  | MS concealed brackets | Nos | 4 | 0 |  | 0 |  | 0
8.8.10 |  |  |  | Anchor bolt 8mm | Nos | 8 | 0 |  | 0 |  | 0
8.8.11 |  |  |  | Sink with Tap | Nos | 2 | 0 |  | 0 |  | 0
8.8.12 |  |  |  | Mirror | Nos | 1 | 0 |  | 0 | 0 | 0
8.8.13 |  |  |  | Counter top stone | m2 | 1 | 0 |  | 0 | 0 | 0
8.9.00 | COORDINATOR ROOM DESK AND SHELVES
8.9.01 |  |  |  | The Tv console is constructed with 18mm thick block board panels, cut and assembled into an L-shape to fit neatly into a corner or against two adjoining walls. The vertical sides, back supports, and horizontal shelves are all made from the same block board to maintain uniform strength and appearance. The edges can be finished with PVC edge banding or polished veneer for durability and a neat look. The unit can be either floor-mounted or wall-mounted depending on design requirements, with adjustable or fixed shelves for books, files, and display items. | Nos | 1 |  | 0 | 0 | 0 | 0
8.9.02 |  |  |  | 18mm Block Board 4ft x 8ft | Nos | 7 | 0 |  | 0 |  | 0
8.9.03 |  |  |  | 9mm Foam board 4 ft x 8 ft | Nos | 2 | 0 |  | 0 |  | 0
8.9.04 |  |  |  | Teak | m | 75 | 0 |  | 0 |  | 0
8.9.05 |  |  |  | Screws & Pins | LS | 1 | 0 |  | 0 |  | 0
8.10.00 | STORAGE CABINET 1
8.10.01 |  |  |  | Providing and fixing storage cabinet of approved size and design, made of 18mm thick block board for all sides, shelves, and shutters, finished with 1.0 mm thick laminate externally and 0.8 mm laminate internally (approved color and texture), with edges provided with 2mm PVC lipping. The cabinet shall include adjustable shelves, and shutters fitted with SS hinges, handles, locks, and magnetic catch / soft close fittings. The work includes all necessary hardware, fittings, labour, transportation, installation, and finishing, complete in all respects as per drawings and instructions of the Engineer-in-Charge. | Nos | 1 |  | 0 | 0 | 0 | 0
8.10.02 |  |  |  | 18mm Block Board 4ft x 8ft | Nos | 3 | 0 |  | 0 |  | 0
8.10.03 |  |  |  | Teak | m | 30 | 0 |  | 0 |  | 0
8.10.04 |  |  |  | Drawer Hinges | Nos | 6 | 0 |  | 0 |  | 0
8.10.05 |  |  |  | Drawer Handle | Nos | 3 | 0 |  | 0 |  | 0
8.10.06 |  |  |  | Screws & Pins | LS | 1 | 0 |  | 0 |  | 0
8.11.00 | STORAGE CABINET 2
8.11.01 |  |  |  | Providing and fixing storage cabinet of approved size and design, made of 18mm thick block board for all sides, and shutters, finished with 1.0 mm thick laminate externally and 0.8 mm laminate internally (approved color and texture), with edges provided with 2mm PVC lipping. The cabinet shall include adjustable shelves, and shutters fitted with SS hinges, handles, locks, and magnetic catch / soft close fittings. The work includes all necessary hardware, fittings, labour, transportation, installation, and finishing, complete in all respects as per drawings and instructions of the Engineer-in-Charge. | Nos | 1 |  | 0 | 0 | 0 | 0
8.11.02 |  |  |  | 18mm Block Board 4ft x 8ft | Nos | 3 | 0 |  | 0 |  | 0
8.11.03 |  |  |  | Teak | m | 30 | 0 |  | 0 |  | 0
8.11.04 |  |  |  | Drawer Hinges | Nos | 2 | 0 |  | 0 |  | 0
8.11.05 |  |  |  | Drawer Handle | Nos | 1 | 0 |  | 0 |  | 0
8.11.06 |  |  |  | Screws & Pins | LS | 1 | 0 |  | 0 |  | 0
8.11.07 |  |  |  | Door Hinges | Nos | 4 | 0 |  | 0 |  | 0
8.11.08 |  |  |  | Door Handle | Nos | 2 | 0 |  | 0 |  | 0
8.11.09 |  |  |  | Push button | Nos | 4 | 0 |  | 0 |  | 0
8.11.10 |  |  |  | Supports | Nos | 2 | 0 |  | 0 |  | 0
8.12.00 | SAMPLE REGISTRATION DESK DESK
8.12.01 |  |  |  | Providing and fixing reception desk of approved design and dimensions, made with high-quality plywood / MDF board with laminate finish, including all necessary framing, supports, and accessories, complete as per drawings and instructions of Engineer-in-Charge. | Nos | 1 |  | 0 | 0 | 0 | 0
8.12.02 |  |  |  | 18mm Block Board 4ft x 8ft | Nos | 3 | 0 |  | 0 |  | 0
8.12.03 |  |  |  | Teak | m | 30 | 0 |  | 0 |  | 0
8.12.04 |  |  |  | Drawer Hinges | Nos | 4 | 0 |  | 0 |  | 0
8.12.05 |  |  |  | Drawer Handle | Nos | 2 | 0 |  | 0 |  | 0
8.12.06 |  |  |  | Screws & Pins | LS | 1 | 0 |  | 0 |  | 0
8.13.00 | PHLEBOTOMY CUBICLE
8.13.01 |  |  |  | Providing and fixing phlebotomy cubicle of approved size and design, made with powder-coated aluminium frame and glass partitions (clear/frosted toughened glass), including door with necessary fittings. The cubicle shall include 1 office chair and 1 patient chair, complete with all materials, fittings, labour, installation, and finishing as per Engineer-in-Charge instructions. | Nos | 13 | 0 | 0 | 0 | 0 | 0
8.14.00 | HAND & EYE WASH STAND
8.14.01 |  |  |  | Providing and fixing hand & eye wash cabinet, consisting of small base cabinet made of 18mm block board with laminate finish, including stainless steel sink with CP tap and eye wash provision, complete with all fittings, plumbing connections, labour, installation, and finishing as per Engineer-in-Charge instructions. | Nos | 1 |  | 0 | 0 | 0 | 0
8.14.02 |  |  |  | 18mm Block Board 4ft x 8ft | Nos | 1 | 0 |  | 0 |  | 0
8.14.03 |  |  |  | 9mm Foam Board 4 ft x 8 ft | Nos | 0.5 | 0 |  | 0 |  | 0
8.14.04 |  |  |  | Teak | m | 15 | 0 |  | 0 |  | 0
8.14.05 |  |  |  | Screws & Pins | LS | 1 | 0 |  | 0 |  | 0
8.14.06 |  |  |  | Door Hinges | Nos | 4 | 0 |  | 0 |  | 0
8.14.07 |  |  |  | Door Handle | Nos | 2 | 0 |  | 0 |  | 0
8.14.08 |  |  |  | Push button | Nos | 4 | 0 |  | 0 |  | 0
8.14.09 |  |  |  | MS concealed brackets | Nos | 4 | 0 |  | 0 |  | 0
8.14.10 |  |  |  | Anchor bolt 8mm | Nos | 8 | 0 |  | 0 |  | 0
8.14.11 |  |  |  | Sink with Tap | Nos | 1 | 0 |  | 0 |  | 0
8.14.12 |  |  |  | Counter top stone | m2 | 0.25 | 0 |  | 0 | 0 | 0
8.15.00 | STAFF ROOM STORAGE CABINET
8.15.01 |  |  |  | Providing and fixing storage cabinet made of 18mm thick block board, finished with laminate on all surfaces, including shelves, shutters, hinges, handles, and locks, complete with all fittings, installation, and finishing as per drawings and Engineer-in-Charge instructions. | Nos | 1 |  | 0 | 0 | 0 | 0
8.15.02 |  |  |  | 18mm Block Board 4ft x 8ft | Nos | 12 | 0 |  | 0 |  | 0
8.15.03 |  |  |  | 9mm Foam Board 4 ft x 8 ft | Nos | 3 | 0 |  | 0 |  | 0
8.15.04 |  |  |  | Teak | m | 200 | 0 |  | 0 |  | 0
8.15.05 |  |  |  | Screws & Pins | LS | 1 | 0 |  | 0 |  | 0
8.15.06 |  |  |  | Door Hinges | Nos | 28 | 0 |  | 0 |  | 0
8.15.07 |  |  |  | Door Handle | Nos | 14 | 0 |  | 0 |  | 0
8.15.08 |  |  |  | Push button | Nos | 28 | 0 |  | 0 |  | 0
8.15.09 |  |  |  | Supports | Nos | 60 | 0 |  | 0 |  | 0
8.15.10 |  |  |  | Counter top stone | m2 | 2 | 0 |  | 0 | 0 | 0
8.15.11 |  |  |  | Tiles work | m2 | 1.8 | 0 |  | 0 |  | 0
8.15.12 |  |  |  | Sink with Tap | Nos | 1 | 0 |  | 0 |  | 0
8.16.00 | DINING TABLE
8.16.01 |  |  |  | Providing and supplying dining table with 6 chairs, made of solid wood / engineered wood structure with finished table top (laminate / veneer / glass as approved), including 6 matching chairs with cushioned seats and backrest, complete with all materials, labour, transportation, and installation as per Engineer-in-Charge instructions. | Nos | 1 | 0 | 0 | 0 | 0 | 0
8.17.00 | WALLMOUNT SHELVES
8.17.01 |  |  |  | Providing and fixing storage cabinet made of 18mm thick block board, finished with laminate on all surfaces, including shelves, complete with all fittings, installation, and finishing as per drawings and Engineer-in-Charge instructions. | Nos | 1 |  | 0 | 0 | 0 | 0
8.17.02 |  |  |  | 18mm Block Board 4ft x 8ft | Nos | 10 | 0 |  | 0 |  | 0
8.17.03 |  |  |  | Teak | m | 200 | 0 |  | 0 |  | 0
8.17.04 |  |  |  | Screws & Pins | LS | 1 | 0 |  | 0 |  | 0
8.18.00 | PLANTER BOX
8.18.01 |  |  |  | Providing and fixing planter box with internal frame, finished with 18mm thick block board, including laminate/polish finish, waterproofing, and all necessary fittings, complete as per site requirements. | Nos | 1 | 0 | 0 | 0 | 0 | 0
8.19.00 | PLANTER BOX 1
8.19.01 |  |  |  | Providing and fixing planter box with internal frame, finished with 18mm thick block board, including laminate/polish finish, waterproofing, and all necessary fittings, complete as per site requirements. | Nos | 1 | 0 | 0 | 0 | 0 | 0
8.20.00 | PLANTER BOX 2
8.20.01 |  |  |  | Providing and fixing planter box with internal frame, finished with 18mm thick block board, including laminate/polish finish, waterproofing, and all necessary fittings, complete as per site requirements. | Nos | 1 | 0 | 0 | 0 | 0 | 0
8.21.00 | WATER FOUNTAIN
8.21.01 |  |  |  | Providing and installing indoor water fountain comprising water reservoir/basin, vertical water distribution pipes, tiered outlets, and recirculating pump system, finished with approved materials, including all necessary plumbing connections, fittings, waterproofing, electrical connections, and accessories, complete in all respects as per design and site requirements. | Nos | 1 | 0 | 0 | 0 | 0 | 0
8.22.00 | WALL PANEL TYPE 2
8.22.01 |  |  |  | Providing and fixing solid wall panels of approved make and quality, factory manufactured, with tongue and groove joints, erected in position as per approved drawings, including necessary cutting, trimming, alignment, fixing with suitable adhesive/mortar, mechanical fasteners, complete in all respects including finishing of joints, curing (if required), scaffolding, and cleaning. Rate shall be inclusive of all materials, labour, tools, and consumables required for proper completion of work | m2 | 17.9955 | 0 | 0 | 0 | 0 | 0
8.23.01 | WALL PANEL TYPE 3
|  |  |  | Providing and fixing solid wall panels of approved make and quality, factory manufactured, with tongue and groove joints, erected in position as per approved drawings, including necessary cutting, trimming, alignment, fixing with suitable adhesive/mortar, mechanical fasteners, complete in all respects including finishing of joints, curing (if required), scaffolding, and cleaning. Rate shall be inclusive of all materials, labour, tools, and consumables required for proper completion of work | m2 | 9.52 | 0 | 0 | 0 | 0 | 0
| TOTAL OF BILL №: 08 - Carried Over To Summary | [7 empty] | 0 | 0 | 0
9.0.00 |  |  |  | Bill №: 09 - PAINTING & DECORATIONS
GENERAL
|  |  | (a) | Rates shall include for: the provision, erection and removal of scaffolding, preparation, wall putty application, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door & window furniture.
|  |  | (b) | All painting work shall be carried in accordance with the Specifications.
9.1.00 | WALL PAINTING
Emulsion paint finish including putty application on brick walls as specified (INTERNAL SURFACES)
9.1.01 |  |  |  | GROUND FLOOR | m2 | 400 |  | 0 | 0 | 0 | 0
9.1.02 |  |  |  | Interior Wall sealer | Ltr | 88.8889 | 0 | 0 | 0 |  | 0
9.1.03 |  |  |  | Interior Putty | Kg | 400 | 0 | 0 | 0 |  | 0
9.1.04 |  |  |  | Emulsion Paint | Ltr | 88.8889 | 0 | 0 | 0 |  | 0
9.2.00 | CEILING PAINTING
Selected paint finish including putty application on ceiling as specified (CEILING)
9.2.01 |  |  |  | GROUND FLOOR | m2 | 276 |  | 0 | 0 | 0 | 0
9.2.02 |  |  |  | Interior Wall sealer | Ltr | 61.3333 | 0 | 0 | 0 | 0 | 0
9.2.03 |  |  |  | Interior Putty | Kg | 276 | 0 | 0 | 0 | 0 | 0
9.2.04 |  |  |  | Emulsion Paint | Ltr | 61.3333 | 0 | 0 | 0 | 0 | 0
|  |  |  | TOTAL OF BILL №: 09 - Carried Over To Summary |  |  |  |  | 0 | 0 | 0
10.0.00 |  |  |  | Bill №: 10 - WALKWAYS AND BALUSTRADES
GENERAL
|  |  | (a) | Rates shall include for: all fabrication work, welding, marking, drilling for bolts incl. those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
|  |  | (b) | Rates shall include for fabrication and erection and temporary supports and fixing into position.
10.1.00 | RAMP RAILING
Balcony handrail at 900mm height as per drawing
10.1.01 |  |  |  | GROUND FLOOR | m | 18.524 | 0 | 0 | 0 | 0 | 0
|  |  |  | TOTAL OF BILL №: 10 - Carried Over To Summary |  |  |  |  | 0 | 0 | 0
11.0.00 |  |  |  | Bill №:11 - MECHANICAL & ELECTRICAL SERVICES
GENERAL
|  |  | (a) | Design, provide and install electrical network for the entire building complete in accordance to standards set by the local governing body STELCO/FENAKA
|  |  | (b) | The following items and description and the drawings are given as a guidance as to the nature of the information required to be returned by the contractor. Should they not be appropriate the contractor should provide a similar BOQ using the Additions/Ommisions sheets provided at the back of this BOQ.
|  |  | (c) | The cost shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
|  |  | (d) | Rate shall include for necessary chasings, trenching, conduits, cables, cable trays, fittings and clips, cutting holes and chases in brick work/ block work/ concrete work complete with all necessary accessories such as sockets, connections, cable glands and boxes, hardware clips, soldering and jointing materials etc., for proper installing and laying of cables.
|  |  | (e) | Rates for electrical isolators, conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces.
|  |  | (f) | A light fixture is measured as one point; switch end of wire is not included in the quantity.
|  |  | (g) | A point wiring for power points is measured (regardless of 1 gang, 2 gang etc) as one point for each socket outlet; other end of wire is not included in the quantity.
|  |  | (h) | All under ground cables directly buried in ground/run in trenches to be properly laid and covered with cable tiles/trench covers. Rate for under ground cables shall include for all necessary excavation, sand layers, concrete tiles, warning strips and back filling with approved quality earth properly compacted, hot dipped galvenized brackets for trenches, accessories, etc as applicable.
|  |  | (i) | The contractors are requested to refer Conditions of Contract, Special Conditions of Contract, Drawings and Specification and other relevant documents related to this tender prior to pricing of the following items
|  |  | (j) | The contractor shall provide a schedule of all builder's work in connection with details of such items as necessary, along with the tender.
|  |  | (k) | Rates for materials/ plants/ equipments not approved for duty free facilities to be quoted on duty paid basis.
|  |  | (l) | All equipments shall be guaranteed for a period of 12 months from the date of commissioning or date of practical completion of the project which ever later
|  |  | (m) | The rate shall include for insurance during handling, rehandling, transport, storage until ready for installation, delivery of equipments up to the point of installation and until handing over.
|  |  | (n) | The rates shall include for comprehensive maintenance during defects liability period of 12 months from the date of handing over
|  |  | (o) | The tenderer shall submit the following information on the items/equipments quoted for together with the tender.
a. make
b. model No.
c. technical data
d. country of manufacture
e. delivery period
f. lead time for manufacturing.
g. port of shipping
h. CIF value of each item in foreign currency.
j. Optional items and their additional cost. (additional cost
to be submitted separately)
k. Schedule of items to be carried out by others connected to
installation of generators/transformers/Electrical panels
such as some builders work and electrical connection.
l. Details of all special features
m. schedule attached to specification.
|  |  | (p) | Rate for all electrical panels shall include for supply and installation of all necessary MCCBs, MCBS, EFRs, ELCBs, auxiliary contacts, Voltmeters, ammeters, Digital analyser,kWh meters, indicator lamps, selector switches, copper bus bars, inter locks, aligning and grounding of the panel, inter connectors, internal wiring connections to switch gear,steel channels and necessary hardware fixing insulating materials,all in fully enclosed metal clad panels and distribution boards completed as shown in drawing. They shall comply with the specifications andI.E.E.regulations and be complete to working order to the approval of local authorities.
|  |  | (q) | Rate shall include for supply, installation, maintaining, testing and commissioning of the system for power and lighting according to drawings and specifications to working order.
|  |  | (r) | All materials, equipment wiring shall confirm to local codes, specifications, standards/latest I.E.E. regulations ( BS 7671 ).
11.2.00 | MAIN DISTRIBUTION, SUB DISTRIBUTION AND DISTRIBUTION SYSTEM
Distribution Boards ( DB )
Distribution Panel for each floor as shown on the drawing, complete with all incoming and outgoing MCBs, RCCBs, etc any other item required to working order, wall mounted wall mount steel powder coated, IP44 enclouser with neutral link, earth bar and required accessories, all complete as per the specifications & drawings.
11.2.01 |  |  |  | AC Distribution Boards | nr | 1 | 0 | 0 | 0 | 0 | 0
11.2.02 |  |  |  | Light Distribution Boards Waiting area 1 phase | nr | 1 | 0 | 0 | 0 | 0 | 0
11.2.03 |  |  |  | Power Distribution Boards Waiting area 3 phase | nr | 1 | 0 | 0 | 0 | 0 | 0
11.2.04 |  |  |  | Inverter Distribution Boards | nr | 1 | 0 | 0 | 0 | 0 | 0
11.2.05 |  |  |  | Power Distribution Boards Phlebotomy area 3 phase | nr | 2 | 0 | 0 | 0 | 0 | 0
11.2.06 |  |  |  | Light Distribution Boards Waiting area 1 phase | nr | 1 | 0 | 0 | 0 | 0 | 0
11.2.07 |  |  |  | Power Distribution Boards Supply Laying & termination of 4c x 10mm² | item | 3 | 0 | 0 | 0 | 0 | 0
11.2.08 |  |  |  | AC Distribution Boards Supply Laying & termination of 4c x 16mm² | item | 1 | 0 | 0 | 0 | 0 | 0
11.2.09 |  |  |  | Light Distribution Boards Supply Laying & termination of 2c x 6mm² | item | 2 | 0 | 0 | 0 | 0 | 0
11.2.10 |  |  |  | Inverter Distribution Boards Supply Laying & termination of 2c x 6mm² | item | 1 | 0 | 0 | 0 | 0 | 0
0
MAIN / SUB CABLING
All under ground cables directly buried in ground/ in the trenches as appilcable, to be laid properly and covered with cable tiles, protection tapes, etc for mechanical protection, PVC sleeves may use if required. Rate shall include for all necessary works/accessories such as excavation, sand layers, cable tiles, warning strips and back filling with approved quality earth,properly compacted, to the satisfication of the Engineer.
All above ground cables shall be laid on cable tray/ trucnking /conduits as appilcable and covered by tray covers, etc. for mechanical protection. PVC sleeves may use if required. Rate shall include for all necessary works/ accessories such as galvernized brackets, supporting materials, fittings, nails, cable ties, earthing, etc, trays shall be of required sizes, GI powder coated, and shotted, to the satisfication of Engineer
11.3.00 | GENERAL EARTHING
11.3.01
11.4.00 | POINT WIRING AND FITTINGS
Rate shall include for supply & installation of cable, conduits for point wiring in concealed installations including lights,switches, power outlet,data points,isolators, etc, all as specified in the drawing
15 A power socket to 1 Circuit, 13 A x 2 power socket to 1 Circuit and 6 light to 1 Circuit,
11.4.01 |  |  |  | Supply and Installation of 2 x 1C 1.5mm2 PVC/PVC/Cu + 2.5mm2 PVC/Cu earth cable c/w uPVC conduit, junction boxes etc. for lights and switches point wiring | nr | 67 | 0 | 0 | 0 | 0 | 0
11.4.02 |  |  |  | Supply and Installation of 2 x 1C 2.5mm2 PVC/PVC/Cu + 2.5mm2 PVC/Cu earth cable c/w uPVC conduit, junction boxes,ethernet cables, RJ45 Connectors, VGA cables etc. for the Socket outlets point wiring | nr | 108 | 0 | 0 | 0 | 0 | 0
11.4.03 |  |  |  | AC Power Supply and Installation of 2 x 1C 2.5mm2 PVC/PVC/Cu + 4mm2 PVC/Cu earth cable c/w uPVC conduit, junction boxes, for the Socket outlets point wiring | nr | 15 | 0 | 0 | 0 | 0 | 0
11.5.00 | FIXTURES
Rate shall include supply and installation of following lighting fixtures, socket outlets as specified and detailed, fixed in position including all fixing accessories, supports and connect to power, under following conditions
1. All bathrooms, out door light fixtures shall be IP65
2. All switches & sockets shall be ABB or equivalent brand.
LIGHTS AND SWITCHES
11.5.01 |  |  |  | Rectangle Ceiling light 18W LED | nr | 36 | 0 | 0 | 0 | 0 | 0
11.5.02 |  |  |  | 150mm Ceiling light 18W LED | nr | 8 | 0 | 0 | 0 | 0 | 0
11.5.03 |  |  |  | Exhaust Fan | nr | 5 | 0 | 0 | 0 | 0 | 0
11.5.04 |  |  |  | Light switch (1 G) | nr | 4 | 0 | 0 | 0 | 0 | 0
11.5.05 |  |  |  | Light switch (2 G) | nr | 3 | 0 | 0 | 0 | 0 | 0
11.5.06 |  |  |  | Light switch (3 G) | nr | 8 | 0 | 0 | 0 | 0 | 0
11.5.07 |  |  |  | Light switch (4 G) | nr | 3 | 0 | 0 | 0 | 0 | 0
SOCKETS
11.5.08 |  |  | 13 | A twin sockets | nr | 56 | 0 | 0 | 0 | 0 | 0
11.5.09 |  |  | 13 | A sockets | nr | 4 | 0 | 0 | 0 | 0 | 0
11.5.10 |  |  | 15 | A sockets | nr | 15 | 0 | 0 | 0 | 0 | 0
ICT
11.5.11 |  |  |  | CAT6 data point (Main Counter) | nr | 6 | 0 | 0 | 0 | 0 | 0
11.5.12 |  |  |  | CAT6 data point (Counters) | nr | 24 | 0 | 0 | 0 | 0 | 0
11.5.13 |  |  |  | CAT6 data point (Cordinator Room) | nr | 3 | 0 | 0 | 0 | 0 | 0
11.5.14 |  |  |  | CAT6 data point (Procedure Room) | nr | 2 | 0 | 0 | 0 | 0 | 0
11.5.15 |  |  |  | CAT6 data point (Sample Registration Room) | nr | 3 | 0 | 0 | 0 | 0 | 0
11.5.16 |  |  |  | CAT6 data point for Camera (Ceiling) | nr | 5 | 0 | 0 | 0 | 0 | 0
11.5.17 |  |  |  | CAT6 data point for Wifi AP (Ceiling) | nr | 4 | 0 | 0 | 0 | 0 | 0
11.5.18 |  |  |  | CAT6 data point for Electronic Lock System | nr | 2 | 0 | 0 | 0 | 0 | 0
11.5.19 |  |  |  | CAT6 data point for Queue TV (Wall) | nr | 3 | 0 | 0 | 0 | 0 | 0
11.5.20 |  |  |  | CAT6 data point for Queue Kiosk (Floor) | nr | 1 | 0 | 0 | 0 | 0 | 0
11.5.21 |  |  |  | CAT6 data point for Electronic Lock System (Main Door) | nr | 1 | 0 | 0 | 0 | 0 | 0
11.5.22 |  |  |  | Salto XS4 Mullion Reader Mifare/BLE - Black | no | 3 | 0 | 0 | 0 | 0 | 0
11.5.23 |  |  |  | Soca SI-85 Infrared Touchless Sensor Exit Button | no | 3 | 0 | 0 | 0 | 0 | 0
11.5.24 |  |  |  | Salto 2 Reader Control Unit | no | 2 | 0 | 0 | 0 | 0 | 0
11.5.25 |  |  |  | Soca SD-30 Armored Door Loop | no | 3 | 0 | 0 | 0 | 0 | 0
11.5.26 |  |  |  | Soca SL-130U Electric Dead Bolt Lock with Key (All purpose type) | no | 3 | 0 | 0 | 0 | 0 | 0
11.5.27 |  |  |  | Camera 6 MP (Hikvision) | no | 5 | 0 | 0 | 0 | 0 | 0
11.5.28 |  |  |  | WD 12TB Purple Pro Surveillance Hard Drive | no | 1 | 0 | 0 | 0 | 0 | 0
11.5.29 |  |  |  | 9u Switch Rack with 48 port Patch Panel | no | 2 | 0 | 0 | 0 | 0 | 0
11.5.30 |  |  |  | Network switch (Huawei :Model: S5735-L48LP4S-A-V2) poe 48 port 10G | no | 2 | 0 | 0 | 0 | 0 | 0
11.5.31 |  |  |  | Cisco Meraki (MR44) Wifi AP | no | 6 | 0 | 0 | 0 | 0 | 0
|  |  |  | TOTAL OF BILL №: 11 - Carried Over To Summary |  |  |  |  | 0 | 0 | 0
12.0.00 |  |  |  | Bill №: 12 - PLUMBING
12.01.00 | GENERAL
|  |  | (a) | Rates shall include for sockets, running joints, connectors, elbows, junctions, valves, reducers, expansion joints, backnuts and similar, incidental fitting, clips saddles, brackets, straps, hangers, screws, nails and fixing complete, including cutting and forming holes, excavating, laying pipes and backfilling trenches.
|  |  | (b) | All pipe work and fittings shall be high pressure PVC.
|  |  | (c) | Rates shall include for supply and fixing of all pipes.
|  |  | (d) | All sanitary fixtures used shall be of superior quality and approved by the architect/consultant on submission of samples.
12.1.01 |  |  |  | Water booster pump | item | 1 | 0 | 0 | 0 | 0 | 0
GROUND FLOOR
12.2.01 | WATER SUPPLY
Provide and fix UPVC high pressure pipes including piping, connections, fittings, valves, excavations, ducting, fixing with brackets and leak testing.
12.2.02 |  |  |  | Water Connection | item | 1 | 0 | 0 | 0 | 0 | 0
INTERNAL PLUMBING - FRESH WATER SUPPLY PIPE
12.2.03 |  |  |  | Note: Internal plumbing to all toilets and kitchen including supply and laying of pipes. | item | 6 | 0 | 0 | 0 | 0 | 0
|  |  | EXTERNAL PLUMBING | [5 empty] | 0 | 0 | 0
12.2.04 |  |  |  | All pipe works under groundfloor screed/slab to be laid for Waste water, sewage, fresh water and well water connection. | item | 2 | 0 | 0 | 0 | 0 | 0
12.2.05 |  |  |  | Waste water and sewage connection from all the toilets including the necessary catch pits and manholes as necessary. Rates shall include for supply and laying of pipes including clean-outs as necessary. | item | 2 | 0 | 0 | 0 | 0 | 0
12.2.06 |  |  |  | Water connection to all toilets. Rate shall include for supply and laying of pipes. | item | 6 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0
12.3.00 | DISCHARGE WORK | [7 empty] | 0 | 0 | 0
12.3.01 |  |  |  | Provide and fix UPVC pipes including vent pipes, vent cowls, cleaning eye, connections, fittings, valves, excavations, ducting, fixing with brackets, connecting to proposed septic tank and leak testing. | item | 6 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 |  | 0
12.4.00 | FIXTURES
12.4.01 |  |  |  | Complete installation, cleaning and testing of:
12.4.02 |  |  |  | Wash basin | nr | 7 | 0 | 0 | 0 | 0 | 0
12.4.03 |  |  |  | Wash basin tap | nr | 7 | 0 | 0 | 0 | 0 | 0
12.4.04 |  |  |  | Muslim shower with stop valve | nr | 6 | 0 | 0 | 0 | 0 | 0
12.4.05 |  |  |  | Soap holder | nr | 6 | 0 | 0 | 0 | 0 | 0
12.4.06 |  |  |  | Floor Drain | nr | 6 | 0 | 0 | 0 | 0 | 0
12.4.07 | 510 | x | 1110 | mm Face Mirror | nr | 4 | 0 | 0 | 0 | 0 | 0
12.4.08 |  |  |  | Water Closet | nr | 6 | 0 | 0 | 0 | 0 | 0
12.4.09 | 1600 | x | 600 | mm Counter top with tile finish | nr | 3 | 0 | 0 | 0 | 0 | 0
|  |  |  | TOTAL OF BILL №: 10 - Carried Over To Summary |  |  |  |  | 0 | 0 | 0