## Sheet1
13th Floor CSSD Ceiling
Dharumavantha Hospital
2025-05-11

## Sheet2
DH 13th Floor Ceiling
SUMMARY OF BILLS OF QUANTITIES
BILL No. | DESCRIPTION | QUOTATION No. | DATE | AMOUNT
1 | TOTAL OF BILL NO. 01 (PRELIMINARIES) (CARRIED OVER TO THE GENERAL SUMMARY) |  | 2017-10-25 | 0
2 | TOTAL OF BILL NO. 02 (Decoration) (CARRIED OVER TO THE GENERAL SUMMARY) |  |  | 0
3 | TOTAL OF BILL NO. 03 (Ceiling) (CARRIED OVER TO THE GENERAL SUMMARY) |  |  | 0
4 | TOTAL OF BILL NO. 04 (ADDITIONS) (CARRIED OVER TO THE GENERAL SUMMARY) |  |  | 0
| TOTAL |  |  | 0 | 2276308.5 | 227630.85
| GST 8% |  |  | 0
| GRAND TOTAL |  |  | 0

## BOQ
DH 13th Floor Ceiling
(Existing Building Revovation)
Item | Description | Unit | QTY | LABOUR RATE | MATERIAL RATE | TOTAL AMOUNT
1 | Bill NO: 1
PRELIMINARIES
1.1 | General Notes
1) | Abbreviations
m - meter
Nr - numbers
m3 - cubic meter
m2 - square meter
Lm - Linear meter
t - tonnes
md - including
mm - millimeter
dia - diameter
SS - Stainless Steel
GI - Galvanised Iron
Sqft- Square Feet
1.2 | Site Management Costs
1.2.1 | Allow for all on and off site management cost
| including costs of foreman and assistants, | item | 1 |  |  | 0
temporary services, telephone,fax, hoardings
and similar.
1.3 | Clean - up
1.3.1 | Allow for clean - up of completed works and site
| upon completion. | item | 1 |  |  | 0
GENERAL
(a) Rates shall include for: cleaning out cavities,
forming rebated reveals and pointing and
cleaning down to reveals where necessary;
fractional size blocks, all necessary machine
cutting, cutting or forming chases or edges of
floor slabs, cutting or leaving holes and
openings as recesses for and building in pipes,
conduits, sleeves and similar as required for all
trades; leaving surfaces rough or raking out
joints for plastering and flashings, bedding
frames or plates, building in joists, bearers or
similar, temporary supports to openings,
templates, reinforcement in walls and for all
necessary making good
(b) Rates shall include for providing approved
quality mesh at joints between structaral
members and masonry in the exterior walls.
(c) 150mm Thick solid blocks shall be used for
exterior masonry walls, & 100 thick solid blocks
shall be used for interior masonry wall
(d) All blocks shall be fabricated from
manufactured sand and machine pressed and
average compression strength for blocks should
not be less than 2.8N/mm2 and shall comply
with physical requirements of ISO 6073:1981.
(e) For masonry, plastering and screeding
works manufactured sand shall be used.
TOTAL OF BILL NO. 01 (PRELIMINARIES) (CARRIED OVER TO THE GENERAL SUMMARY) | [5 empty] | 0
Bill No: 02
2 | Decoration
2.1 | General
a | Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door and window
b | All painting work shall be carried in accordance with the Specifications
c | Paint system shall be approved paint from client and consultant.
d | Internal surfaces of wall shall be smooth putty finishing.
e | Puttying and sanding process should allow add or omit depending on the conditions of the surface.
f | Emulsion paint finish on cement plastered walls and concrete column, sides and soffits of beam and soffits of slab surfaces as specified. Exterior walls should be applied with weather proof paint. 1 coat of wall sealer, 2 coats of paint. Interior surfaces 1 coat of wall sealer, 2 coats of Putty and 2 coats of paint. Soffits of the Slab to be grinded before painting.Soffits of the slab with 1 coat of wall sealer, 2 coats of Wall putty, and 2 coats of Paint.Ceilings with 1 coat of wall sealer, 2 coats of Wall putty, and 2 coats of Paint.
g | The colour brand should be Nippon or an equilant brand.Colour of paint shall be decided by the architect or consultant
2.2 | Putty & Painting
2.1.1 | Putty & Painting on interior surfaces of wall | item | 1 |  |  | 0
TOTAL OF BILL NO. 02 (Decoration) (CARRIED OVER TO THE GENERAL SUMMARY) | [5 empty] | 0
Bill No: 03
Ceiling
3.1 | General
a | Internal ceiling areas are of 9mm thick Laminated Gypsum Ceiling - Shades fixed on to standard internal GI framework and finished with Matte White Emulsion Paint after smooth putty finish.
b | External ceiling areas are of 6mm thick Cement Booard fixed on to standard internal hardwood framework and finished with Matte White Emulsion Paint after smoothing joints and edjes.
c | Box up for conceiling AC pipes to indoor unit height and hotwater pipes 50mm below beam bottom with standard internal hardwood framework and 9mm thick plasterboard, finished with respective emulsion paint on smooth putty surface as per the drawings
d | Rates shall include for removing, replace, framing, fixing and all other works.
3.2 | Plaster Board Ceiling
a | Rates shall include for: screws, nails and fixing or supporting clips, and all other works to re-install the equipment and cabinet.
b | • Laminated Gypsum Ceiling with washable vinyl facing for easy maintenance. • Available in plain facings with a smooth appearance. • Certificated for Environmental Product Declaration (EPD) as per ISO 14025. • High resistance to mold and mildew, scoring a 10 (highest) when tested by ASTM D3273. • Ultra-high humidity resistance: sag resistance ensures durability in standard or extreme environmental conditions. • Standard is produced with aluminum foil backing, which acts • as a vapor barrier and resists breathing, so the panel stays • cleaner longer. • Scrub resistant. Dirt marks are easy to remove. • Suitable for areas with high humidity. • It is economical and easy to trim and install. • Demountable and designed to be installed on the DONN® Brand ceiling suspensions. • Available in a concealed edge design, specifically produced to elevate the overall space appearance
c | Grid profile - DX/DXL SQ Edge
3.2.1 | Laminated Gypsum Ceiling - Shades (600x600mm 9mm thick Grid Ceiling System) | Sqft | 3200 |  |  | 0
TOTAL OF BILL NO. 03 (Ceiling) (CARRIED OVER TO THE GENERAL SUMMARY) | [5 empty] | 0
Bill No: 04
4 | ADDITIONS
Bill No 01 | [5 empty] | 0
Bill No 02 | [5 empty] | 0
Bill No 03 | [5 empty] | 0
Bill No 04 | [5 empty] | 0
TOTAL OF BILL NO. 04 (ADDITIONS) (CARRIED OVER TO THE GENERAL SUMMARY) | [5 empty] | 0