## Sheet1
Electrical Engineering
IGMH
Medical grade copper fittings requirement for the expension of hospital beds
No | Details | Qty
1 | Medical Grade copper pipe 3meter 15mm | 150
2 | Medical Grade copper reducer 22 x 15mm | 100
3 | Medical Grade copper equal joint 22mm | 100
4 | Medical Grade copper Tee 22 x 22 x 15mm | 100
5 | Medical Grade copper Elbow 22mm | 100
6 | Medical grade hose - PVC (20 bar) white REFITTEX 20 bar ISO 5359 -2014 outer 12mm, inner 6.3mm, thickness 2.85mm. | 100mtr
7 | PVC Clip 15mm 2603 | 1000
8 | NIST TEE 15mm 2670 - 1500 | 50
9 | NIST TEE 22mm 2670 - 1510 | 50
Emergency items required for the patients
No | Details | Qty
10 | 5540602 Flow selector O2 flow meter with probe (0 - 15L/MIN) | 100
11 | 5530002 Humidfier Sterilizable (TREAD 9/16" UNF) | 120
12 | 5351203 Suction equipment vacusill 2HV PC2 BS composed by 2HV High vacuum Regulator with water trap with BS probe plug unit (Complete) | 30
13 | 4381000 Vacuum wall mount collect 1.7L composed | 20
14 | 4540520 Flow meter control knob | 100
15 | 435100 SafetyTrap PC | 100
16 | 4540550 Repair kit flow meter O2 0-15L/min | 100
17 | 3530011 Tube diffuser humidifier | 100