## COVER
BILL OF QUANTITIES
Project: Proposed Two Building Connecting Lift at Surgical Ward of IGMH
Client: IGMH
July 2023

## SUM
BILL OF QUANTITIES
SUMMARY
NO | BILL | AMOUNT (MVR)
1 | Preliminaries | 0
2 | Ground Works | 0
3 | Concrete Works | 0
4 | Masonry and Plastering | 0
5 | Cladding | 0
6 | Ceiling Works | 0
7 | Painting | 0
8 | Additions and Omissions | 0
| SUB TOTAL | 0
| GST 8% | 0
| GRAND TOTAL | 0

## BoQ
BILL OF QUANTITIES
Project: Proposed Two Building Connecting Lift at Surgical Ward of IGMH
Item | Description | Unit | Qty | Material Rate | Labour Rate | Amount (MVR)
BILL No: 01
Preliminaries
1.1 | General Notes
1 | Abbreviations
m - metre
lm-linear metre
nr - numbers
m³ - cubic metre
m² - square metre
l - litre
m - metre
kg - kilogram
incl - including
mm - millimetre
dia - diametre
pts - points
SS - Stainless Steel
GI - Galvanised Iron
1.2 | Site Management Costs
1 | Allow for all on and off site management costs including costs of foreman and assistants, temporary services, telephone, fax and similar items. | item | 1 |  |  | 0
1.3 | Safty on Site
1 | Safety on site:- Providing and maintaining adequate safety measures on site for all workers and all authorized visitors on site and protecting adjoining properties and people against falling objects or other with regard to the construction works. | item | 1 |  |  | 0
1.4 | TEMPORARY FENCING
1 | Supply, erect and maintenance of a fence throughout the construction period and hoarding all along the perimeter of the site. | item | 1 |  |  | 0
2 | Proved temporary partion closeup that is exposed to both Dharumavantha hospital first floor & IGMH hospital first, second Floor. (This partition should be painted or Should be aesthetic) | item | 1 |  |  | 0
1.5 | Sign Board
1 | Allow for sign board | item | 1 |  |  | 0
| BILL No: 01 - Preliminaries |  |  |  |  | 0
TOTAL OF BILL No: 01 - Carried over to summary
BILL No: 02
Ground Works
General
(a) Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating, additional working space and disposing surplus soil.
2.1 | Demolition
1 | Demolition of the existing building components as per the drawing | item | 1 |  |  | 0
2.2 | Excavation
(a) Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork, back filling, shoring, foundation protection and similar
Excavation to receive:
1 | Pad footings, 1200 x 1200mm, F1 | m³ | 5.76 |  |  | 0
2 | Tie beam, 250 x 450mm, TB1 | m³ | 2.18 |  |  | 0
2.3 | Damp Proof Membrane
(a) Rate shall include for: dressing around and sealing to all penetrations.
Polythene damp proof membrane (500 gauge) laid on the bottom of:
1 | Pad footings, 1200 x 1200mm, F1 | m² | 5.76 |  |  | 0
2 | Tie beam, 250 x 450mm, TB1 | m² | 2.91 |  |  | 0
2.4 | Back Filling
1 | Backfilling to the excavated area and upto floor finish level. Rate shall include for the leveling of backfilling and achieving the appropriate level of compaction | item | 1 |  |  | 0
2.5 | Reconstructing Foot Path
1 | Allow for reconstructing the demolished foot path area | item | 1 |  |  | 0
2.6 | Clean-up
1 | Allow for clean up of completed works and site upon completion | item | 1 |  |  | 0
| BILL No: 02 - Ground Works |  |  |  |  | 0
TOTAL OF BILL No: 02 - Carried over to summary
BILL No: 03
Concrete Works
General
(a) Rate shall include batching, mixing, compacting, leveling and placing of concrete and curing and removal of any formwork include for provision casting of required items & finishing after removal of formwork and additional concrete required to confirm to structural tolerances and rates shall include supply of all required materials and machineries
(b) Mix ratio for reinforced concrete shall be 1:2:3 (20mm crushed aggregates) and lean concrete shall be 1:2:6 by volume.
(c) Quantity is measured to the edges of concrete foundation members. Rates shall be inclusive for any additional concrete required to place the formwork.
3.1 | Lean Concrete
50mm thick lean concrete to bottom of:
1 | Pad footings, 1200 x 1200mm, F1 | m³ | 0.29 |  |  | 0
2 | Tie beam, 250 x 450mm, TB1 | m³ | 0.15 |  |  | 0
3.2 | Reinforced Insitu Concrete
1 | Pad Footings, 1200 x 1200mm, F1 | m³ | 1.44 |  |  | 0
2 | Tie beam, 250 x 450mm, TB1 | m³ | 1.31 |  |  | 0
3 | Columns, 250 x 250mm, C1 | m³ | 3.0625 |  |  | 0
4 | Beams, 200 x 300mm, B1 | m³ | 1.5264 |  |  | 0
5 | Beams, 200 x 300mm, B2 | m³ | 2.2896 |  |  | 0
6 | 200mm thick lift pit slab | m³ | 2.012 |  |  | 0
7 | 200mm thick Machine room slab | m³ | 2.012 |  |  | 0
8 | 200mm thick Roof slab | m³ | 2.012 |  |  | 0
3.3 | Formwork
General
(a) Exposed surface shall have fair finish while remaining may have rough finish, and must be secured in a highly precise manner guaranteeing straight and smooth concrete edges
(b) Timber used for unexposed concrete surface shall sound dressed and seasoned good quality common timber while for exposed concrete surfaces dressed and matched boards uniformly thick and not more than 250mm wide.
(c) Plywood used for forms shall be of commercial standard, moisture resistane conrete form plywood not less than 6mm thick and atleast 12mm thick.
(d) Rates shall include for; all necessary boarding,supports, erecting, framing, temporary cambering cutting, perforations for reinforcing bars, bolts,straps,ties, hangers, pipes and removal of formwork.
1 | Pad Footings, 1200 x 1200mm, F1 | m² | 4.8 |  |  | 0
2 | Tie beam, 250 x 450mm, TB1 | m² | 10.46 |  |  | 0
3 | Columns, 250 x 250mm, C1 | m² | 55.24 |  |  | 0
4 | Beams, 200 x 300mm, B1 | m² | 27.89 |  |  | 0
5 | Beams, 200 x 300mm, B2 | m² | 18.59 |  |  | 0
6 | 200mm thick lift pit slab | m² | 11.73 |  |  | 0
7 | 200mm thick Machine room slab | m² | 11.73 |  |  | 0
8 | 200mm thick Roof slab | m² | 11.73 |  |  | 0
3.4 | Reinforcement
General
(a) All reinforcement bars except 6 mm dia bars shall be of deformed high strength bars. 6 mm bar shall be round mild steel bars.
(b) Binding wire shall be of 1.6 mm or 1.4 mm soft iron wire.
(c) Rates shall include for distribution steel, cleaning, fabrication, placing, the provision for all necessary temporary fixings, and supports including chairs and binding wire, laps and wastage.
1 | Pad Footings, 1200 x 1200mm, F1
| 12mm dia deformed bars | nr | 32 |  |  | 0
2 | Tie beam, 250 x 450mm, TB1
| 16mm dia deformed bars | nr | 15 |  |  | 0
| 12mm dia deformed bars | nr | 14 |  |  | 0
| 6mm dia deformed bars | nr | 31 |  |  | 0
3 | Columns, 250 x 250mm, C1
| 16mm dia deformed bars | nr | 70 |  |  | 0
| 6mm dia deformed bars | nr | 60 |  |  | 0
4 | Beams, 200 x 300mm, B1
| 16mm dia deformed bars | nr | 22 |  |  | 0
| 6mm dia deformed bars | nr | 28 |  |  | 0
5 | Beams, 200 x 300mm, B2
| 12mm dia deformed bars | nr | 33 |  |  | 0
| 6mm dia deformed bars | nr | 43 |  |  | 0
6 | 200mm thick lift pit slab
| 10mm dia deformed bars | nr | 52 |  |  | 0
7 | 200mm thick Machine room slab
| 10mm dia deformed bars | nr | 52 |  |  | 0
8 | 200mm thick roof slab
| 10mm dia deformed bars | nr | 52 |  |  | 0
3.5 | Water Proofing
1 | Apply Rubberised bitumin water proofing paint, 2 coats to all exposed concrete below ground level. | m² | 27.12 |  |  | 0
2 | Add an approved concrete admixture to all concrete | l | 22.8 |  |  | 0
3.6 | Other Concrete Works
Rate shall include Concrete, formwork, reinforcement, casting, curing, placing etc as specified in the drawings and specifications.
1 | Wall Stiffener members incl RC Lintel Beams, Sill beams, Stiffener beams and Stiffener columns etc. | item | 1 |  |  | 0
3.7 | 20mm S.S Rod Hook | nos | 1 |  |  | 0
| BILL No: 03 - Concrete Works |  |  |  |  | 0
TOTAL OF BILL No: 03 - Carried over to summary
BILL N0: 04
Masonry and Plastering
General
(a) Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs
(b)Cutting or leaving holes and openings as recesses for and building in pipes, conduits , sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding frames or plates, building in joints.
(c) Blocks shall be of standard quality with no defects and sample shall be submitted for the engineer or consultant's approval.
(d) All external wall and all internal walls shall be as specified and for masonry mix ratio 1:4 (cement and river sand)
(e) For related concrete works, rates shall include for formwork, reinforcement and concrete
(f) Rates shall include for approved brand water proofing compound and it shall be mixed with cement mortar for external wall plastering as per manufacturers specifications.
4.1 | Masonry
(a) 150mm thick solid block wall, with dimensions (150 x 150 x 300mm) laid on and including 1:5 cement sand motar, tie rods, compression gap filler, nylon 'plastic mesh as specified and approved'
1 | Lift walls | m² | 75 |  |  | 0
4.2 | Plastering
(a) All exterior plastering shall be provided with fiber mesh
(b) Exterior plastering rates shall be for 2 coats each 10mm thick and for interior plastering 1 coat each 16mm thick with 1:4 cement to river sand mix ratio with water proofed prime plaster to:
1 | Lift exterior walls | m² | 75 |  |  | 0
2 | Lift interior walls | m² | 75 |  |  | 0
| BILL N0: 04 - Masonry and Plastering |  |  |  |  | 0
TOTAL OF BILL No: 04 - Carried over to summary
BILL N0: 05
Cladding
General
(a) Rates shall include for all fabrication works, welding, marking, drilling, for bolts including those securing steel plates, nuts, and any type of washer, riveted work, stiffeners, grouting, counter sinking and tapping for bolts or machine screws.
(b) Rates shall include for all fabrication and erection and temporary supports and fixing in to position
(c) Rates shall include supply and installation of to the complete condition of all members, gussets, fasteners, connections, welding and other accessories and works needed to complete the job.
(d) Rates shall also include for applying redoxide and painting the steel members according to specifications
5.1 | External Cladding
1 | 5mm thick aluminium cladding sheet with 25 x 25mm 2mm thick GI SHS frame. Cladding area is including all exposed sides and roof top (Which includes the existing east side exterior wall of staircase area) | m² | 85.76 |  |  | 0
| BILL N0: 05 - Cladding |  |  |  |  | 0
TOTAL OF BILL No: 05 - Carried over to summary
BILL N0: 06
Ceiling Works
General
(a) Rates shall include for all fixing, cutting, trimmings, nails, screws and other fixings according to manufacturers' instructions.
(b) Rates shall include for: all fabrication work, welding, marking, drilling for bolts including those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
(c) Any materials used shall be approved by the consultant and works shall be commenced in accordance with the technical specifications
(d) Rates shall also include for applying redoxide to all welded metal surfaces
6.1 | Ceiling
1 | 6mm thick shera board or equivalent ceiling with 35 x 50 x 1.8mm horizontal and vertical GI RHS frame | m² | 8.96 |  |  | 0
| BILL N0: 06 - Ceiling Works |  |  |  |  | 0
TOTAL OF BILL No: 06 - Carried over to summary
BILL N0: 07
Painting
General
(a) Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door and window furniture where necessary.
(b) All painting work shall be carried in accordance with the drawings and Specifications and subject to approval by the consultant
(c) The colour brand should be Nippon or an equivalent brand. Colour of paint shall be decided by the architect or consultant
Interior Painting
(e) Rate shall include for putty, 1 coat of wall sealer and 2 coats of Nippon or equivalent paint to interior wall surfaces, ceiling and other concrete surfaces.
7.1 | Applying putty and painting wall sealer and emulsion paint to:
1 | Interior walls | m² | 9.31 |  |  | 0
2 | Ceiling | m² | 8.96 |  |  | 0
| BILL N0: 07 - Painting |  |  |  |  | 0
TOTAL OF BILL No: 07 - Carried over to summary
BILL No: 08
Additions and Omissions
8.1 | Additions
8.1.1) | ELECTRICAL
GENERAL
A) Rates shall include for: screws, nails, bolts, nuts, standard cable, fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
B) Rates for work in trench shall include for: excavation, maintaining faces of excavation, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil.
C) Rates for electric conduits, fittings, equipment and similar items shall include for: all fixings to variuos building surfaces.
D) Rates shall include for supply and complete installation.
E) The loading for air conditioning shall be according to a specialist details.
F) For electric wiring, 1.5mm2 wire shall be used for light fixtures and fans. 2.5mm2 wire shall be used for light circuit wiring.
G) All electrical wires, cables, fittings, fixtures, accessories & similar shall be approved by the Consultant.
8.1.1.a) | ELECTRICAL MAINS
1 | Allow for installation of main electrical board (panel board) including meters, Distribution Boards, earthing, connections, testing and commissioning as to the requirements of STELCO
| a) 4C x16mm2 | 45 | M |  |  | 0
| b) 1C x 10mm2 Earth | 45 | M |  |  | 0
| C) Distribution Board with (MBC,CB,RCCB) | 2 | nos |  |  | 0
2 | Allow for Telephone/Network LAN cabling from ground floor control room to individual floor via service duct. | 45 | M |  |  | 0
8.1.1.b) | ELECTRICAL WIRING:
Electrical wiring with copper conductor cable in conduits in walls and concrete as per government regulations:
| a) Provide and fix electrical wiring (2.5 mm²) to power points | 4 | Point |  |  | 0
| b) Provide and fix electrical wiring (1.5 mm²) to lights and fans | 2 | Point |  |  | 0
1 | LIGHTING SWITCHES & OTHERS:
All lighting fixtures
| Machine room Lighting | 2 | nos |  |  | 0
| Lift well Lighting | 1 | nos |  |  | 0
All switches shall be "Clipsal"or equivalent
| one gang one way switch | 1 | nos |  |  | 0
All sockets shall be "Clipsal"or equivalent
| 2 GANG13A SOCKET OUTLET AT 300mm ABOVE FINISHED FLOOR LEVEL | 1 | nos |  |  | 0
| 1 GANG 13A SOCKET OUTLET lift well | 1 | nos |  |  | 0
| 1 GANG 13A SOCKET OUTLET CEILING level | 1 | nos |  |  | 0
| 1 GANG 15A SOCKET OUTLET CEILING level | 1 | nos |  |  | 0
2 | AIRCONDITIONING AND DUCTING
| 18000 BTU Split type Aircondition Unit includes installation materials | nos | 1 |  |  | 0
8.1.1.c) | Door For machine room | nos | 1 |  |  | 0
8.2 | Omissions
| BILL No: 08 - Additions and Omissions |  |  |  |  | 0
TOTAL OF BILL No: 08 - Carried over to summary