## COVER
PROPOSED MENTAL HEALTH CARE CENTER (PHASE-2)
SUMMARY OF BILLS OF QUANTITIES

## SUMMARY
PROPOSED MENTAL HEALTH CARE CENTER (PHASE-2)
SUMMARY OF BILLS OF QUANTITIES
BILL No. | DESCRIPTION | QUOTATION No. | DATE | AMOUNT
1 | TOTAL OF BILL NO. 01 (PRELIMINARIES) |  | 2017-10-25 | 0
2 | TOTAL OF BILL NO. 02 (MASONRY & PLASTERING WORKS) |  |  | 0
3 | TOTAL OF BILL NO. 03 (WALL PANELLING) |  |  | 0
4 | TOTAL OF BILL NO. 04 (CEILINGS) |  |  | 0
5 | TOTAL OF BILL NO. 05 (Doors & Windows) |  |  | 0
6 | TOTAL OF BILL NO. 06 (FINISHES) |  |  | 0
7 | TOTAL OF BILL NO. 07 (PAINTING) |  |  | 0
8 | TOTAL OF BILL NO. 08 (ELECTRICAL INSTALLATIONS) |  |  | 0
9 | TOTAL OF BILL NO. 09 (FURNITURE) |  |  | 0
10 | TOTAL OF BILL NO. 10 (OPD Rooms Relocation) |  |  | 0
11 | TOTAL OF BILL NO. 11 (Additions & Variations) |  |  | 0
| TOTAL |  |  | 0 | 2276308.5 | 227630.85
| GST 6% |  |  | 0
| GRAND TOTAL |  |  | 0

## BOQ
PROPOSED MENTAL HEALTH CARE CENTER (PHASE-2)
(Existing Building Revovation)
Item | Description | Unit | QTY | RATE | LABOUR AMOUNT | RATE | MATERIAL AMOUNT | TOTAL AMOUNT
1 | Bill NO: 1
PRELIMINARIES
1.1 | General Notes
1) | Abbreviations
m - meter
No - numbers
m3 - cubic meter
m2 - square meter
Lm - Linear meter
t - tonnes
md - including
mm - millimeter
dia - diameter
SS - Stainless Steel
GI - Galvanised Iron
1.2 | Site Management Costs
1.2.1 | Allow for all on and off site management cost
| including costs of foreman and assistants, | item | 1 |  |  |  |  | 0
temporary services, hoardings and similar.
1.3 | Clean - up
1.3.1 | Allow for clean - up of completed works and site
| upon completion. | item | 1 |  |  |  |  | 0
1.4 | Demolition
1.4.1 | Wall Demolition works for Staff Entrance Door | m2 | 2.1 |  |  |  |  | 0
1.4.2 | Wall Demolition works Staff Room | m2 | 9.74 |  |  |  |  | 0
1.4.3 | Removal of room Door Leafs & Door Frames | nos | 3 |  |  |  |  | 0
TOTAL OF BILL NO. 01 (PRELIMINARIES) (CARRIED OVER TO THE GENERAL SUMMARY) | [7 empty] | 0
2.1 | Bill No: 02
MASONRY AND PLASTERING
GENERAL
(a) Rates shall include for: cleaning out cavities,
forming rebated reveals and pointing and
cleaning down to reveals where necessary;
fractional size blocks, all necessary machine
cutting, cutting or forming chases or edges of
floor slabs, cutting or leaving holes and
openings as recesses for and building in pipes,
conduits, sleeves and similar as required for all
trades; leaving surfaces rough or raking out
joints for plastering and flashings, bedding
frames or plates, building in joists, bearers or
similar, temporary supports to openings,
templates, reinforcement in walls and for all
necessary making good
(b) Rates shall include for providing approved
quality mesh at joints between structaral
members and masonry in the exterior walls.
(c) 150mm Thick solid blocks shall be used for
exterior masonry walls, & 100 thick solid blocks
shall be used for interior masonry wall
(d) All blocks shall be fabricated from
manufactured sand and machine pressed and
average compression strength for blocks should
not be less than 2.8N/mm2 and shall comply
with physical requirements of ISO 6073:1981.
(e) For masonry, plastering and screeding
works manufactured sand shall be used.
2.1.1 | BLOCK WORK
| 150 mm wide solid blocks, laid on and incl. 1:5 Cement Mortor, tie rods, compression gap filler, nylon / plastic mesh as specified. | [6 empty] | 0
2.1.2 | 200 mm wide block wall windows opening | m2 | 5.12 |  |  |  |  | 0
2.1.3 | 200 mm wide block wall door opening | m2 | 6.33
2.2 | PLASTERING
2.2.1 | PLASTERING - INTERNAL
a) 15mm cement plastering on internal walls
and concrete surfaces with 1:4 Cement mortar
mix as specified incl. wire mesh at joints of
concrete surfaces and walls (one coat).
2.2.2 | Plastering of 200 mm wide block wall windows opening | m2 | 10.24 |  |  |  |  | 0
2.2.3 | Plastering of 200 mm wide block wall door opening | m2 | 12.66 |  |  |  |  | 0
TOTAL OF BILL NO. 02 (MASONRY & PLASTERING WORKS) (CARRIED OVER TO THE GENERAL SUMMARY) | [7 empty] | 0
Bill No: 03
WALL PANELLING
3.1 | GENERAL
a) Rates shall include for: All necessary material
3.3 | PARTITION WORKS
3.3.1 | 2500mm h Partition with Boral Board and with MS-C | m2 | 48.64 |  |  |  |  | 0
| frame with 100mm thick Roock Wool inusulation. | [6 empty] | 0
3.3.2 | 2850mm h Partition with Boral Board and with MS-C | m2 | 54.38 |  |  |  |  | 0
| frame with 100mm thick Roock Wool inusulation. | [6 empty] | 0
3.3.3 | 2500mm h Partition with Cement Board and with 50x75 Aluminium Frame | m2 | 7.85 |  |  |  |  | 0
TOTAL OF BILL NO. 03 (WALL PANELLING) (CARRIED OVER TO THE GENERAL SUMMARY) | [7 empty] | 0
Bill No: 04
CEILING
4.1 | General
a) Rates shall include for: all labour in framing,
notching and fitting around projections, pipes,
light fittings, hatches, grilles and similar and
complete with cleats, packers, wedges and
similar and all nails and screws.
b) Rate shall include for: timber priming and all
painting as specified in the drawing
4.2 | Ceiling
4.2.1 | Demaged Ceiling Remove replace Boral Board celing (including dimolished wall areas) | item | 1 |  |  |  |  | 0
4.2.2 | Existing Demaged Ceiling Remove and Refixing Cement Board (nursing room) | m2 | 4.96 |  |  |  |  | 0
4.2.3 | Painting all the celing boards (odorless paint) | m3 | 136.52 |  |  |  |  | 0
TOTAL OF BILL NO. 04 (CEILINGS) (CARRIED OVER TO THE GENERAL SUMMARY) | [7 empty] | 0
Bill No: 05
DOORS & WINDOW
4.1 | DOORS AND WINDOWS
General
a) Rates shall include for: locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
b) All Aluminium windows shall be 60 micron white powder coated.
c) All timber doors shall be removed the existing fomeca and paste new fomeca with new borders varnish finish.
d) All glazing shall be 9mm Tinted
(Profiles to be chosen by client).
4.2 | Timber Door units | [6 empty] | 0
4.2.1 | Door D1 | nos | 2 |  |  |  |  | 0
4.2.2 | Door D2 | nos | 1 |  |  |  |  | 0
4.2.3 | Door D3 | nos | 6 |  |  |  |  | 0
4.2.4 | Door D4 | nos | 1 |  |  |  |  | 0
4.2.5 | Door D5 | nos | 1 |  |  |  |  | 0
4.2.6 | Door D6 | nos | 1 |  |  |  |  | 0
4.2.7 | Timber Paneling to the door removed wall | nos | 3 |  |  |  |  | 0
4.3 | Aluminium Window Units
4.3.1 | Window W1 | nos | 3 |  |  |  |  | 0
4.3.2 | Window W2 | nos | 1 |  |  |  |  | 0
TOTAL OF BILL NO. 05 (Doors & Windows) (CARRIED OVER TO THE GENERAL SUMMARY) | [7 empty] | 0
Bill No: 06
Floor FINISHES
6.1 | General
(a) Rates shall include for: Floor Cleaning, Gluing, and other meterials uesd for the work.
6.2 | FLOOR FINISHES
6.2.1 | Vinyl Flooring with borders (Labour Included) | m2 | 135.48 |  |  |  |  | 0
TOTAL OF BILL NO. 06 (Floor FINISHES) (CARRIED OVER TO THE GENERAL SUMMARY) | [7 empty] | 0
Bill No: 07
PAINTING
7.1 | General
a) Rates shall include for: the provition, erection
and removal of scaffolding, preparation, rubbing
down between coats and similar work, the
protection and / or making floors, fittings and
similar work, removing and replacing door and
window furniture
b) All painting work shall be carried in
accordance with the specifications.
Painting system shall be Sigma or Equivalent
7.2 | Walls & Partition Walls
Weather proof emulsion paint finish on plastered and concrete surfaces of external and good (odorless paint) emulsion paint on Internal walls.
7.2.1 | Putty on plastered and concrete surfaces of internal & Exturnal Walls, Columns & Partitions. | m2 | 420.4 |  |  |  |  | 0
7.2.2 | Paint on Internal & Exturnal walls, columns & Partitions.1 coat of wall sealer, 1 coat tex compound & 2 coats of paints | m2 | 420.4 |  |  |  |  | 0
7.2.3 | Emulsion paint finish 2 coats on surfaces of internal & Exturnal Walls, Columns & Partitions. | m2 | 420.4 |  |  |  |  | 0
TOTAL OF BILL NO. 07 (PAINTING) (CARRIED OVER TO THE GENERAL SUMMARY) | [7 empty] | 0
Bill No: 08
ELECTRICAL & NETWORK INSTALLATIONS
8.1 | General
a) Rates shall include for: screws, nails, bolts,
nuts, standard cable fixing or supporting clips,
brackets, straps, rivets, plugs and all incidental
accessories.
b) Rate shall include for electrical conduits,
fittings, equipment and similar all fixings
c) Each light / light fixture and its switches shall
measure as one one point: similarly each
sockets or each fans shall measured as one
point.
d) Rate shall include for supply and complete
installation of all floors.
e) Provide junction box for each separate unit of
telephone and cable tv system.
8.2 | Electrical & Network Connections
Complete installation incl. for all connection & Cabling to Distribution boards. earthing, painting, testing and similar of;
8.2.1 | Wiring to Socket Switches & Connections | points | 42 |  |  |  |  | 0
8.2.2 | Cabling & Connections to Distribution boards | points | 2 |  |  |  |  | 0
8.2.3 | Cabling & Connections to Telephone sockets (HDMI) | points | 5 |  |  |  |  | 0
8.2.4 | Cabling & Connections to Television sockets (HDMI) | points | 2 |  |  |  |  | 0
8.2.5 | Cabling & Connections to Network Points (HDMI) | points | 23 |  |  |  |  | 0
8.2.6 | Cabling & Connections to Camera Points (HDMI) | points | 3 |  |  |  |  | 0
8.2.7 | Cabling & Connections to Poke Through Socket | nos | 2 |  |  |  |  | 0
| Relocation of Existing Switches, Sockets & Deta | nos | 4 |  |  |  |  | 0
8.3 | Lighting, Electronics others
8.3.1 | Ceiling mount light (600x600mm led) | nos | 27 |  |  |  |  | 0
8.3.2 | Wireless Receiver host | no | 1 |  |  |  |  | 0
8.3.3 | Emergency Call Button | nos | 10 |  |  |  |  | 0
8.3.4 | Access Control Moduler | no | 1 |  |  |  |  | 0
8.3.5 | Access Control Site Conrtoller | no | 1 |  |  |  |  | 0
8.3.6 | Access Control Magnatic Lock | no | 1 |  |  |  |  | 0
8.3.4 | Network Switch | no | 1 |  |  |  |  | 0
8.4 | Socket outlets
| All sockets shall be "Clipsal"or equivalent | [6 empty] | 0
8.4.1 | 13 Amps Socket Switch double | nos | 45 |  |  |  |  | 0
8.4.2 | 15 Amps Sockets switch single Ceiling mount | nos | 5 |  |  |  |  | 0
8.4.3 | 13 Amps Access Door Control socket | nos | 4 |  |  |  |  | 0
8.4.4 | 32 Amps Isolator | nos | 2 |  |  |  |  | 0
8.4.5 | Telephone Socket | nos | 6 |  |  |  |  | 0
8.4.6 | Network Socket | nos | 25 |  |  |  |  | 0
8.4.7 | Television Socket | nos | 1 |  |  |  |  | 0
8.5 | Light Switches
| All switches shall be "Clipsal"or equivalent | [6 empty] | 0
8.5.1 | One Way switches (1 Gang) | nos | 11 |  |  |  |  | 0
8.5.2 | One Way switches (2 Gang) | nos | 3 |  |  |  |  | 0
8.5.3 | One Way switches (3 Gang) | nos | 1 |  |  |  |  | 0
8.5.4 | One Way switches (4 Gang) | nos | 2 |  |  |  |  | 0
8.5.5 | Emergency Call Button | nos | 11
8.6 | CCTV System & Televition
8.6.1 | CCTV Camera | nos | 3 |  |  |  |  | 0
8.6.2 | 55" Smart TV (including the brackets) | nos | 1 |  |  |  |  | 0
8.6.3 | 55" TV (including the brackets)
8.6.4 | Access Controller (Security Entry System) | nos | 3 |  |  |  |  | 0
8.6.5 | Access Controller Switch | nos | 3 |  |  |  |  | 0
8.8 | Air Conditioning system
8.8.1 | Ceiling Cassette type Air conditioner indoor units for Waiting area (24000 BTU) | nos | 2 |  |  |  |  | 0
8.8.2 | Wall mount type Air conditioner indoor units (9000 BTU) | nos | 8 |  |  |  |  | 0
8.9 | Distribution Boards
8.9.1 | Power & Light Distribution Board | nos | 1 |  |  |  |  | 0
8.9.2 | AC Distribution Board | nos | 1 |  |  |  |  | 0
TOTAL OF BILL NO. 08 (ELECTRICAL INSTALLATIONS) (CARRIED OVER TO THE GENERAL SUMMARY) | [7 empty] | 0
Bill No: 09
FURNITURE
9.1 | General
a) Rates shall include for: All types of furnitures
9.2 | Fixd Furnitures / Equipments
9.2.1 | Tearoom Sink Cabinet | nos | 1 |  |  |  |  | 0
9.2.2 | Tearoom Overhead Cabinet | nos | 1 |  |  |  |  | 0
9.2.3 | Water Cooler wall mount (including water suppy & drainage) | nos | 1 |  |  |  |  | 0
9.2.4 | Water Cooler Floor Stand (including water suppy & drainage) | nos | 1 |  |  |  |  | 0
9.2.5 | Pray Room Curtain (including railing) | nos | 1 |  |  |  |  | 0
9.3 | Loose furnitures
9.3.1 | Meeting Room Table 4800x1200mm | nos | 1 |  |  |  |  | 0
9.3.2 | Meeting Room Chairs (Medium Back) | nos | 14 |  |  |  |  | 0
9.3.3 | Admin Room Table 1550x600mm | nos | 2 |  |  |  |  | 0
9.3.4 | Admin Room Chairs (Medium Back) | nos | 4 |  |  |  |  | 0
9.3.5 | Admin Room Filing Cabinet 800x400x2100mm | nos | 4 |  |  |  |  | 0
9.3.6 | Consultation Room Cofee Table 600mm Diameter | nos | 6 |  |  |  |  | 0
9.3.7 | Consultation Room Chair (Doctor / High Back) | nos | 6 |  |  |  |  | 0
9.3.8 | Consultation Room Chair (Patient & Relative / low Back) | nos | 12 |  |  |  |  | 0
9.3.9 | Consultation Room Computer Table | nos | 3 |  |  |  |  | 0
9.3.10 | Plastic Chairs | nos | 19 |  |  |  |  | 0
9.3.11 | Filing Cabinets (800x400x1800mm (LxBxH) | nos | 4 |  |  |  |  | 0
9.3.12 | Waiting area Sofa (same as existing) | nos | 2 |  |  |  |  | 0
9.3.13 | Storage Cupboard (Staff Room) | nos | 1 |  |  |  |  | 0
9.3.14 | Steel Lockers (1x12) | nos | 2 |  |  |  |  | 0
9.3.15 | Drawer Set (under table) | nos | 4 |  |  |  |  | 0
9.4 | Other Items
9.4.1 | Computer System | nos | 7 |  |  |  |  | 0
9.4.2 | Scanner Printer | nos | 3 |  |  |  |  | 0
9.4.3 | Medicine Fridge (4 Feet) | nos | 1 |  |  |  |  | 0
9.4.4 | Staff Room Fridge (5 Feet) | nos | 1 |  |  |  |  | 0
9.4.5 | Water Dispencer / Include connections (Floor Mount) | nos | 1 |  |  |  |  | 0
9.4.6 | Water Dispencer / Include connections (Wall Mount) | nos | 1 |  |  |  |  | 0
9.4.7 | Dustbin (Foot operating) | nos | 5 |  |  |  |  | 0
9.4.8 | Tissue Dispenser | nos | 3 |  |  |  |  | 0
9.4.9 | Shredder | nos | 1 |  |  |  |  | 0
9.4.10 | Wall Clock | nos | 4 |  |  |  |  | 0
TOTAL OF BILL NO. 09 (FURNITURE) (CARRIED OVER TO THE GENERAL SUMMARY) | [7 empty] | 0
Bill No: 10
TOILET WORKS (2 Toilets)
10.1 | General
a) Rates shall include for: Interior adjustments of the fixtures and fittings for 2 toilets. All types of works Inclusive.
10.2 | Demolition Work
10.2.1 | Remove Existing Door | nos | 2 |  |  |  |  | 0
10.2.2 | Remove the existing wall tiles | m2 | 27.55 |  |  |  |  | 0
10.2.3 | Remove the existing Floor tiles | m2 | 6.24 |  |  |  |  | 0
10.2.4 | Demolish Wall for New Door | m2 | 2.94 |  |  |  |  | 0
10.3 | Masonary & Plastering
10.3.1 | Masonary Works (Removed Existing Door) |  | 2.94 |  |  |  |  | 0
10.3.2 | Plastering |  | 5.88 |  |  |  |  | 0
10.4 | Toilet Door
10.4.1 | PVC / Fiber Board Door (D4 & D5) | nos | 2 |  |  |  |  | 0
10.5 | Drainage
10.5.1 | Drain & Discharge pipe work (Complete) | item | 1 |  |  |  |  | 0
10.6 | Fresh Water Supply Pipework
10.6.1 | Water connection to fixtures & fittings from Existing | item | 1 |  |  |  |  | 0
10.7 | Floor Screeding
10.7.1 | Floor Screeding Work | m2 | 5.24 |  |  |  |  | 0
10.8 | Toilet Wall tiling
10.8.1 | 200 X 300 mm Wall Tiling (Porcelain) | m2 | 27.55 |  |  |  |  | 0
10.9 | Toilet Floor tiling
10.9.1 | 200 X 200 mm Non-slip Foor Tiling (Porcelain) | m2 | 6.24 |  |  |  |  | 0
10.1 | Fixtures & Fittings
10.10.1 | Water Closet | nos | 2 |  |  |  |  | 0
10.10.2 | Wash basin | nos | 2 |  |  |  |  | 0
10.10.3 | Glass Shower Panel | nos | [5 empty] | 0
10.10.4 | Wash basin tap | nos | 2 |  |  |  |  | 0
10.10.5 | Muslim Shower | nos | 2 |  |  |  |  | 0
10.10.6 | Head & Hand Shower | nos | 2 |  |  |  |  | 0
10.10.7 | Floor waste with gully trap | nos | 2 |  |  |  |  | 0
10.10.8 | Mirror with accessories | nos | 2 |  |  |  |  | 0
10.10.9 | Toilet Paper Holder | nos | 2 |  |  |  |  | 0
10.10.10 | Towel Railing | nos | 2 |  |  |  |  | 0
10.10.11 | Face Towel Holder | nos | 2 |  |  |  |  | 0
10.10.12 | Hand Drayer | nos | 2 |  |  |  |  | 0
10.10.13 | Water Taps / Faucet | nos | 2 |  |  |  |  | 0
TOTAL OF BILL NO. 10 (TOILET WORKS (2 Toilets) (CARRIED OVER TO THE GENERAL SUMMARY) | [7 empty] | 0
Bill No: 11
ADDITIONS
1.1 | General
| All Additional Works | nos |  |  | 0 |  | 0 | 0
| All Ommition Works | nos |  |  | 0 |  | 0 | 0
0
TOTAL OF BILL NO. 11 (Additions) (CARRIED OVER TO THE GENERAL SUMMARY) | [7 empty] | 0
Note: All Meterials to be Approved by IGMH